## Asset_Inventory
Customer Name | Site | Building | Id | Asset Code | Asset Type | Customer Description | Number | Element Value | Property Code | Technical Size Unit | Construction Year | Actual Condition | Required Condition | Size Percentage | Priority | Criticality (REMEX)
Pink Floyd | Site1 | Building1 | Pink Floyd-1 | 6.5.35.00 | Gas Detection (CH4) | Gas Detection (CH4) | 8 | 2 | Amount | # of detectors | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-2 | 6.6.11.00 | Electrical Persons Elevator | Electrical Persons Elevator | 3 | 2 | Amount | # of stops | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-3 | 6.6.12.00 | Hydraulic Persons Elevator | Hydraulic Persons Elevator | 2 | 3 | Amount | # of stops | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-4 | 6.6.31.01 | Electrical Goods Elevator | Electrical Goods Elevator | 1 | 2 | Amount | # of stops | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-5 | 7.4.11.05 | Toilet | Toilet | 9 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-6 | 7.4.11.16 | Water Tap (with seal) | Water Tap | 9 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-7 | 7.4.11.20 | Shower | Shower | 8 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-8 | 9.0.52.02 | Gutter | Gutter | 1 | 1 | Length | m1 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-9 | 9.0.65.00 | External Hydrant (site) | External Hydrant (site) | 1 | 1 | Amount | # of Hydrants | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-10 | 2.1.11.00 | Exterior Facade General | Exterior Facade General | 4 | 500 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-11 | 2.2.11.00 | Interior Walls General (non bearing wall) | Interior Walls General | 8 | 500 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-12 | 2.3.11.20 | Laminate (non insulated) | Laminate | 4 | 500 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-13 | 2.4.11.00 | leeg | Straight Stairs General | 8 | 5 | Amount | # of Steps | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-14 | 2.7.11.00 | Covering Flat Roof (General insulated) | Covering Flat Roof (General) | 1 | 500 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-15 | 3.1.21.00 | Closed Windows (Outer double glazing) Aluminium | Closed Windows (Outer) Aluminium | 50 | 4 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-16 | 2.8.11.05 | Plinth | Plinth | 8 | 1 | Length | m1 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-17 | 4.5.21.00 | Naked Ceiling | Naked Ceiling | 4 | 5 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-18 | 6.3.41.00 | TL-TLD Appliance | TL-TLD Appliance | 100 | 1 | Amount | # of devices | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-19 | 6.4.12.00 | Persons Call System | Persons Call System | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-20 | 6.4.13.00 | Work Time Registration | Work Time Registration | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-21 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 8 | Amount | # of Zones | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-22 | 6.5.13.20 | Sprinkler Component: Alarm Valve | Sprinkler: Alarm Valve | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-23 | 6.5.13.21 | Sprinkler Component: Sprinkler Head | Sprinkler: Sprinkler Head | 8 | 4 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-24 | 6.5.13.22 | Sprinkler Component: Motor (engine) Pump | Sprinkler: Engine Pump | 1 | 82 | Diameter | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-25 | 6.5.13.27 | Water Reservoir | Water Reservoir | 1 | 100 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-26 | 6.5.21.00 | Burglar Detection - Central | Burglar Detection - Central | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-27 | 6.5.21.02 | Burglar Detection - Door/Window Contact | Burglar Detection - Door/Window Contact | 11 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-28 | 6.5.21.03 | Burglar Detection - Hold up button / Panic button | Burglar Detection - Hold up button / Panic button | 4 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-29 | 6.5.21.10 | Burglar Detection - Siren / Flash | Burglar Detection - Siren / Flash | 4 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-30 | 6.5.21.20 | CCTV-Camera`s | CCTV-Camera`s | 12 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-31 | 6.5.22.00 | Access Control - Central Command Unit | Acces Control - Central Command Unit | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-32 | 6.5.22.01 | Access Control - Badge Reader | Acces Control - Badge Reader | 10 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-33 | 6.5.22.03 | Access Control - Push button (exit) | Acces Control - Push button (exit) | 10 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-34 | 6.5.22.04 | Access Control - Code Keypad | Acces Control - Code Keypad | 4 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-35 | 3.1.30.05 | Electrical Lock | Electrical Lock | 6 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-36 | 3.1.32.01 | Manual Sliding Door (Outer) PVC | Manual Sliding Door (Outer) PVC | 2 | 2 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-37 | 3.1.32.03 | Manual Sliding Door (Outer) Steel | Manual Sliding Door (Outer) Steel | 3 | 2 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-38 | 3.1.33.01 | Manual Tilt Doors PVC | Manual Tilt Doors PVC | 2 | 2 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-39 | 3.1.33.11 | Manual Sectional Door (Outer) PVC | Manual Sectional Door (Outer) PVC | 1 | 2 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-40 | 3.2.31.01 | Automatic Revolving Door (Inner) | Automatic Revolving Door (Inner) | 1 | 4 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-41 | 3.2.33.12 | Automatic Fast Closing Door (Inner) | Automatic Fast Closing Door (Inner) | 2 | 2 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-42 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 1 | 40 | Power | kW | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-43 | 5.1.21.10 | Atmospheric Boiler | Atmospheric Boiler | 6 | 40 | Power | kW | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-44 | 5.1.30.10 | Plate Heat Exchanger Heating | Plate Heat Exchanger Heating | 6 | 500 | Power | kW | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-45 | 5.2.16.00 | Cellar Pump (Sump pump) | Cellar Pump (Sump pump) | 5 | 82 | Diameter | mm | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-46 | 5.2.16.10 | Rainwater Pump (submersible) | Rainwater Pump | 1 | 64 | Diameter | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-47 | 5.2.26.00 | Feed Pump Faeces | Feed Pump Faeces | 1 | 82 | Diameter | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-48 | 5.2.32.00 | Oil and Petrol Interceptor | Oil and Petrol Interceptor | 1 | 50 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-49 | 5.2.32.10 | Grease Seperator | Grease Seperator | 1 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-50 | 5.3.14.10 | Hydrophore pump | Hydrophore pump | 2 | 82 | Diameter | mm | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-51 | 5.3.14.15 | Pressure Vessel Water | Pressure Vessel Water | 3 | 10 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-52 | 5.3.19.00 | Drinking water storage (plastic storage tank) | Drinking water storage (plastic storage tank) | 1 | 10 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-53 | 5.3.20.01 | Closed Expansion Vessel HSW (Static) | Closed Expansion Vessel HSW | 3 | 25 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-54 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-55 | 5.3.22.10 | Central Heating Water Heater | Central Heating Water Heater | 2 | 100 | Power | W | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-56 | 5.3.23.00 | Plate Heat Exchanger HSW (Stainless Steel) | Plate Heat Exchanger SHW (Stainless Steel) | 1 | 10 | Power | kW | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-57 | 5.3.52.00 | Volumetric water Softener (DUPLEX) | Water Softener | 6 | 1 | Number | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-58 | 5.6.10.00 | Closed Expansion Vessel Heating | Closed Expansion Vessel Heating | 19 | 25 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-59 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 74 | 82 | Diameter | mm | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-60 | 5.6.10.20 | Double Circulation Pump Heating | Double Circulation Pump Heating | 3 | 82 | Diameter | mm | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-61 | 5.6.10.70 | Motorised 2-way Valve/Butterfly Valve Heating | Motorised 2-way Valve/Butterfly Valve Heating | 2 | 15 | Diameter | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-62 | 5.6.10.71 | Motorised 3-way Valve/Butterfly Valve Heating | Motorised 3-way Valve Heating | 25 | 15 | Diameter | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-63 | 5.7.11.00 | Smoke Vent - Smoke and Heat Extraction System | Smoke Vent - Smoke and Heat Extraction System | 4 | 1 | Area | m2 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-64 | 5.7.21.15 | Axial Fan | Axial Fan | 2 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-65 | 5.7.31.00 | Extraction Unit | Extraction Unit | 5 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-66 | 5.7.31.10 | Roof Extraction Unit | Roof Extraction Unit | 19 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-67 | 5.7.70.90 | Air Treatment Unit Component - Fire Damper | Fire Damper | 3 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-68 | 5.7.71.10 | Air Treatment Unit Complete - (1 battery/Filter section/ 100% fresh Air) | Air Handling Unit (1 battery/Filter section/ 100% fresh Air) | 4 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-69 | 5.7.71.12 | Air Treatment Unit Complete - (1 battery/Filter Section/ Heat Recuperation) | Air Handling Unit (1 battery/Filter Section/ Heat Recuperation) | 3 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-70 | 5.7.71.13 | Air Treatment Unit Complete - (1 battery/Coarse + Fine Filter/ Heat Recuperation) | Air Handling Unit (1 battery/Coarse + Fine Filter/ Heat Recuperation) | 2 | 1500 | Flow rate | m3/h | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-71 | 5.8.11.10 | Control Panel | Control Panel | 11 | 10 | Amount | # of Circuits | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-72 | 6.1.11.10 | Fuel Emergency Generator | Fuel Emergency Generator | 2 | 18 | Power | kVA | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-73 | 6.1.41.00 | High Voltage Transformator | High Voltage Transformator | 1 | 100 | Power | kVA | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-74 | 6.1.41.01 | High Voltage Switch Gear | High Voltage Switch Gear | 1 | 100 | Power | kVA | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-75 | 6.1.51.00 | Main Distribution Board | Main Distribution Board | 1 | 2 | Amount | # of distributions | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-76 | 6.1.51.10 | Distribution Board | Distribution Board | 4 | 10 | Amount | # of distributions | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-77 | 6.1.61.20 | Photovoltaic Cells | Photovoltaic Cells | 3 | 1 | Power | W | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-78 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 11 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-79 | 6.5.11.01 | Fire Alarm Central | Fire Alarm Central | 8 | 8 | Amount | # of Zones | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-80 | 6.5.11.07 | Fire Notifier | Fire Notifier | 10 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-81 | 6.5.12.01 | Magnetic Contact | Magnetic Contact | 4 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-82 | 6.5.13.00 | Foam Extinguisher | Foam Extinguisher | 1 | 2 | Content | L | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-83 | 6.5.13.01 | Powder Extinguisher | Powder Extinguisher | 10 | 6 | Content | kg | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-84 | 6.5.13.24 | Sprinkler Component: Jockey Pump | Sprinkler: Jockey Pump | 1 | 100 | Diameter | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-85 | 6.5.13.26 | Sprinkler Component: Wet Rising Pipes | Wet Rising Pipes | 2 | 1 | Length | m1 | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-86 | 6.5.13.30 | Fire Hose Reel | Fire Hose Reel | 10 | 1 | Number | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-87 | 6.5.13.31 | Indoor hydrant | Indoor hydrant | 1 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-88 | 6.5.11.05 | Fire Detector | Fire Detector | 10 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0
Pink Floyd | Site1 | Building1 | Pink Floyd-89 | 6.5.13.33 | Sprinkler Component: Alarm Bell | Sprinkler: Alarm Bell | 4 | 1 | Amount | pcs | 2000 | 6 | 3 | 100 | 1 | 0