## Asset_Inventory
Client_Name | Site_Name | Building | (spare) | Asset_Code | Asset_Type | Client_Description_unique | #Pieces | Property_Value | Property_Code | Technical_Size_Unit | Construction_Year | Actual_Condition | Required_Condition | Size_Percentage | Priority
Demo | SVM Beringen_OTHS1 | B003 | Demo-1 | 6.1.51.00 | Main Distribution Board | Main Distribution Board | 1 | 17 | Amount | # of distributions | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-2 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-3 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-4 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-5 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-6 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-7 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-8 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-9 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-10 | 6.5.11.00 | Fire Detection Central | Fire Detection Central | 1 | 4 | Amount | # of Zones | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-11 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-12 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-13 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-14 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-15 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-16 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-17 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-18 | 5.7.70.90 | Fire Damper | Fire Damper | 10 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-19 | 5.7.70.90 | Fire Damper | Fire Damper | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-20 | 5.3.34.30 | Buffer Tank | Buffer Tank | 1 | 500 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-21 | 5.6.10.85 | Buffer Vessel Hot Water Distribution | Buffer Vessel Hot Water Distribution | 1 | 500 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-22 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-23 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-24 | 5.7.70.21 | CAV | CAV | 2 | 15000 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-25 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-26 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-27 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-28 | 5.7.70.21 | CAV | CAV | 1 | 15000 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-29 | 5.3.20.00 | Circulator HSW | Circulator HSW | 1 | 34 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-30 | 5.3.20.00 | Circulator HSW | Circulator HSW | 1 | 27 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-31 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-32 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 3 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-33 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 34 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-34 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 1 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-35 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 5 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-36 | 5.3.20.00 | Circulator HSW | Circulator HSW | 2 | 48 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-37 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 3 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-38 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 3 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-39 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 6 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-40 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-41 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-42 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-43 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-44 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-45 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 3 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-46 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-47 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-48 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-49 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 42 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-50 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-51 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 34 | Diameter | mm | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-52 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 42 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-53 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-54 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 3 | 34 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-55 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 34 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-56 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-57 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 2 | 48 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-58 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 34 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-59 | 5.6.10.10 | Circulation Pump Heating | Circulation Pump Heating | 4 | 42 | Diameter | mm | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-60 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 3 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-61 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 3 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-62 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 3 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-63 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 2 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-64 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 2 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-65 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 2 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-66 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 2 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-67 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 2 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-68 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Wallmounted Condensating Gas Boiler | 4 | 100 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-69 | 5.3.22.10 | Central Heating Water Heater | Central Heating Water Heater | 1 | 3000 | Power | W | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-70 | 5.7.31.10 | Roof Extraction Unit | Roof Extraction Unit | 1 | 1500 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-71 | 5.7.31.10 | Roof Extraction Unit | Roof Extraction Unit | 1 | 2000 | Flow rate | m3/h | 2019 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-72 | 5.7.31.10 | Roof Extraction Unit | Roof Extraction Unit | 1 | 3600 | Flow rate | m3/h | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-73 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-74 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-75 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-76 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-77 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-78 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-79 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-80 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 20 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-81 | 6.3.24.00 | Decentralised Emergency Lighting | Decentralised Emergency Lighting | 40 | 1 | Number | pcs | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-82 | 5.3.23.00 | Plate Heat Exchanger SHW (Stainless Steel) | Plate Heat Exchanger SHW (Stainless Steel) | 1 | 25 | Power | kW | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-83 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2019 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-84 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-85 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 3 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-86 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-87 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-88 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-89 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-90 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 2 | 10 | Content | L | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-91 | 5.3.21.00 | Electric Water Heater | Electric Water Heater | 1 | 10 | Content | L | 2016 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-92 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 3500 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-93 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 5500 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-94 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 7700 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-95 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 5500 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-96 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 7700 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-97 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 15000 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | SVM Beringen_OTHS1 | B003 | Demo-98 | 5.7.31.00 | Extraction Unit | Extraction Unit | 1 | 2000 | Flow rate | m3/h | 2015 | 0 | 9 | 0 | 0
Demo | Site1 |  | Demo-99 | 2.7.11.02 | Covering Flat Roof (bitumen without ballast insulated) | Roof | 1 | 20000 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-100 | 2.1.11.02 | Exterior Wall (outer front facade) | Façade | 4 | 5000 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-101 | 2.1.12.01 | Cavity Walls ( not insulated) | Walls | 10 | 100 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-102 | 2.3.11.10 | Floor Tile (non insulated) | Floors | 10 | 250 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-103 | 4.5.12.00 | System Ceiling | Ceiling | 5 | 250 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-104 | 3.1.21.03 | Closed Windows (Outer double glazing) Wood | Windows | 25 | 4 |  | m2 | 2015 | 3 | 9 | 0 | 0
Demo | Site1 |  | Demo-105 | 3.1.31.02 | Manual Swing Doors Wood | Doors | 20 | 2 |  | m2 | 2020 | 3 | 9 | 0 | 0
Demo | Site001 | B001 | Demo-106 | 7.4.11.05 | Toilet | Toilet | 20 | 1 | - | pcs | 2015 | 3 | 9 | 0 | 0