## Asset_Inventory
Client_Name | Site_Name | Building | Unique_Asset_ID | Asset_Code | Asset_Type | Client_Description_(unique) | Number | Property_Value | Property_Code | Technical_Size_Unit | Construction_Year | Actual_Condition | Required_Condition | Size_Percentage | Priority
LSM | Brussels | B002 | AssetID001 | 2.7.11.03 | Covering Flat Roof (EPDM) | Element001 | 1 | 18500 | Area | m2 | 2020 | 6 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID002 | 2.7.11.07 | Covering Flat Roof (Steel) | Element002 | 1 | 18500 | Area | m2 | 2020 | 6 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID003 | 2.3.11.31 | Carpet floor | Element003 | 1 | 18000 | Area | m2 | 2015 | 4 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID004 | 2.3.11.30 | Vinyl | Element004 | 1 | 500 | Area | m2 | 2015 | 3 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID005 | 3.1.31.04 | Manual Swing Doors Glass | Element005 | 1 | 4 | Area | m2 | 2015 | 3 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID006 | 5.1.21.10 | Atmospheric Boiler | Element006 | 1 | 250 | Power | kW | 2015 | 3 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID007 | 5.3.21.00 | Electric Water Heater | Element007 | 1 | 50 | Content | L | 2015 | 2 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID008 | 5.3.22.30 | Solar Panels (HSW) | Element008 | 50 | 4 | Area | m2 | 2015 | 5 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID009 | 5.5.30.10 | Circulation Pump Cooling | Element009 | 10 | 25 | Diameter | mm | 2015 | 6 | 2 | 100 | 1
LSM | Brussels | B002 | AssetID010 | 6.1.11.00 | No-Break (UPS) | Element010 | 1 | 100 | Power | kVA | 2015 | 6 | 2 | 100 | 1