## Property Thresholds incl Thresh
ID | Asste Type Code | Asset Type Name EN | Property Code | Unit | Threshold Low | Threshold Normal | Threshold High | Session
1 | 2.1.11.00 | Exterior Facade General | Area | m2 | 500 | 5000 | 25000 | 0
2 | 2.1.11.01 | Exterior Facade (Glass bricks) | Area | m2 | 500 | 5000 | 25000 | 0
3 | 2.1.11.02 | Exterior Facade (Curtain wall) | Area | m2 | 500 | 5000 | 25000 | 0
4 | 2.1.11.03 | Exterior Facade (Concrete) | Area | m2 | 500 | 5000 | 25000 | 0
5 | 2.1.11.04 | Exterior Facade (Cellular concrete) | Area | m2 | 500 | 5000 | 25000 | 0
6 | 2.1.11.05 | Exterior Facade (Bricks) | Area | m2 | 500 | 5000 | 25000 | 0
7 | 2.1.11.07 | Exterior plastic wall | Area | m2 | 500 | 5000 | 25000 | 0
8 | 2.1.11.10 | Wall Cladding | Area | m2 | 500 | 5000 | 25000 | 0
9 | 2.1.12.00 | Cavity Walls | Area | m2 | 500 | 5000 | 25000 | 0
10 | 2.1.13.00 | Chimney (External Part) | Length | m1 | 1 | 10 | 50 | 0
11 | 2.1.15.00 | Parapet (massive balustrade) | Area | m2 | 5 | 50 | 250 | 0
12 | 2.2.11.00 | Interior Walls General | Area | m2 | 500 | 5000 | 25000 | 0
13 | 2.2.11.01 | Interior Walls Concrete | Area | m2 | 500 | 5000 | 25000 | 0
14 | 2.2.11.02 | Interior Walls Maconery | Area | m2 | 500 | 5000 | 25000 | 0
15 | 2.2.11.03 | Interior Walls Plaster blocks | Area | m2 | 500 | 5000 | 25000 | 0
16 | 2.2.11.10 | Paintable walls | Area | m2 | 500 | 5000 | 25000 | 0
17 | 2.2.11.50 | Covering interior walls general | Area | m2 | 500 | 5000 | 25000 | 0
18 | 2.2.11.51 | Covering interior walls Plaster | Area | m2 | 500 | 5000 | 25000 | 0
19 | 2.2.13.00 | Chimney (Internal Part) | Length | m1 | 1 | 10 | 50 | 0
20 | 2.2.14.00 | Moveable Walls | Area | m2 | 100 | 1000 | 5000 | 0
21 | 2.3.11.00 | Concrete Floor | Area | m2 | 500 | 5000 | 25000 | 0
22 | 2.3.11.05 | Cast Floor | Area | m2 | 500 | 5000 | 25000 | 0
23 | 2.3.11.10 | Floor Tile | Area | m2 | 500 | 5000 | 25000 | 0
24 | 2.3.11.20 | Laminate | Area | m2 | 500 | 5000 | 25000 | 0
25 | 2.3.11.21 | Parquet | Area | m2 | 500 | 5000 | 25000 | 0
26 | 2.3.11.22 | Cork flooring | Area | m2 | 500 | 5000 | 25000 | 0
27 | 2.3.11.30 | Vinyl | Area | m2 | 500 | 5000 | 25000 | 0
28 | 2.3.11.31 | Carpet floor | Area | m2 | 500 | 5000 | 25000 | 0
29 | 2.3.12.00 | Balcony General | Area | m2 | 5 | 50 | 250 | 0
30 | 2.3.12.01 | Balcony Steel | Area | m2 | 5 | 50 | 250 | 0
31 | 2.3.13.00 | Galery | Area | m2 | 5 | 50 | 250 | 0
32 | 2.3.14.00 | Platform General | Area | m2 | 5 | 50 | 250 | 0
33 | 2.3.14.01 | Platform Steel | Area | m2 | 5 | 50 | 250 | 0
34 | 2.4.11.00 | Straight Stairs General | Amount | # of Steps | 5 | 50 | 250 | 0
35 | 2.4.11.01 | Straight Stairs Concrete | Amount | # of Steps | 5 | 50 | 250 | 0
36 | 2.4.11.02 | Straight Stairs Steel | Amount | # of Steps | 5 | 50 | 250 | 0
37 | 2.4.11.03 | Straight Stairs Wood | Amount | # of Steps | 5 | 50 | 250 | 0
38 | 2.4.11.10 | Straight Stairs | Amount | # of Steps | 5 | 50 | 250 | 0
39 | 2.4.12.00 | Non-Straight Stairs | Amount | # of Steps | 5 | 50 | 250 | 0
40 | 2.4.13.00 | Spiral Stairs | Amount | # of Steps | 5 | 50 | 250 | 0
41 | 2.4.20.00 | Ramps | Area | m2 | 5 | 50 | 250 | 0
42 | 2.4.31.00 | Ladders | Amount | # of Steps | 5 | 50 | 250 | 0
43 | 2.4.31.50 | Cage ladders | Height | m1 | 2 | 20 | 100 | 0
44 | 2.4.32.00 | Set of Climbing Irons | Amount | # of units | 5 | 50 | 250 | 0
45 | 2.4.35.00 | Platform (stairs) | Area | m2 | 2 | 20 | 100 | 0
46 | 2.7.11.00 | Covering Flat Roof (General) | Area | m2 | 500 | 5000 | 25000 | 0
47 | 2.7.11.01 | Covering Flat Roof (Tiles) | Area | m2 | 500 | 5000 | 25000 | 0
48 | 2.7.11.02 | Covering Flat Roof (bitumen without ballast) | Area | m2 | 500 | 5000 | 25000 | 0
49 | 2.7.11.03 | Covering Flat Roof (EPDM) | Area | m2 | 500 | 5000 | 25000 | 0
50 | 2.7.11.04 | Covering Flat Roof (Aluminium) | Area | m2 | 500 | 5000 | 25000 | 0
51 | 2.7.11.05 | Covering Flat Roof (concrete tiles) | Area | m2 | 500 | 5000 | 25000 | 0
52 | 2.7.11.06 | Covering Flat Roof (Copper) | Area | m2 | 500 | 5000 | 25000 | 0
53 | 2.7.11.07 | Covering Flat Roof (Steel) | Area | m2 | 500 | 5000 | 25000 | 0
54 | 2.7.11.08 | Covering Flat Roof (Zinc) | Area | m2 | 500 | 5000 | 25000 | 0
55 | 2.7.11.09 | Covering Flat Roof (Slates) | Area | m2 | 500 | 5000 | 25000 | 0
56 | 2.7.11.10 | Covering Flat Green Roof Extensive | Area | m2 | 500 | 5000 | 25000 | 0
57 | 2.7.11.11 | Covering Flat Green Roof Intensive | Area | m2 | 500 | 5000 | 25000 | 0
58 | 2.7.11.12 | Covering Flat Roof (PVC) | Area | m2 | 500 | 5000 | 25000 | 0
59 | 2.7.11.13 | Covering Flat Roof (TPO) | Area | m2 | 500 | 5000 | 25000 | 0
60 | 2.7.11.14 | Covering Flat Roof (Plastic) | Area | m2 | 500 | 5000 | 25000 | 0
61 | 2.7.11.50 | Construction Flat Roof Aluminium | Area | m2 | 500 | 5000 | 25000 | 0
62 | 2.7.11.51 | Construction Flat Roof Concrete | Area | m2 | 500 | 5000 | 25000 | 0
63 | 2.7.11.52 | Construction Flat Roof Wood | Area | m2 | 500 | 5000 | 25000 | 0
64 | 2.7.11.53 | Construction Flat Roof Plastic | Area | m2 | 500 | 5000 | 25000 | 0
65 | 2.7.11.54 | Construction Flat Roof Metal | Area | m2 | 500 | 5000 | 25000 | 0
66 | 2.7.11.55 | Construction Flat Roof Steeldeck | Area | m2 | 500 | 5000 | 25000 | 0
67 | 2.7.11.80 | Steel cappings roof | Area | m2 | 500 | 5000 | 25000 | 0
68 | 2.7.12.00 | Covering Sloping Roof General | Area | m2 | 500 | 5000 | 25000 | 0
69 | 2.7.12.01 | Covering Sloping Roof (Tiles) | Area | m2 | 500 | 5000 | 25000 | 0
70 | 2.7.12.02 | Covering Sloping Roof (bitumen without ballast) | Area | m2 | 500 | 5000 | 25000 | 0
71 | 2.7.12.03 | Covering Sloping Roof (EPDM) | Area | m2 | 500 | 5000 | 25000 | 0
72 | 2.7.12.04 | Covering Sloping Roof (Aluminium) | Area | m2 | 500 | 5000 | 25000 | 0
73 | 2.7.12.05 | Covering Sloping Roof (concrete tiles) | Area | m2 | 500 | 5000 | 25000 | 0
74 | 2.7.12.06 | Covering Sloping Roof (Copper) | Area | m2 | 500 | 5000 | 25000 | 0
75 | 2.7.12.07 | Covering Sloping Roof (Steel) | Area | m2 | 500 | 5000 | 25000 | 0
76 | 2.7.12.08 | Covering Sloping Roof (Zinc) | Area | m2 | 500 | 5000 | 25000 | 0
77 | 2.7.12.09 | Covering Sloping Roof (bitumen ballast) | Area | m2 | 500 | 5000 | 25000 | 0
78 | 2.7.12.10 | Covering Sloping Green Roof Extensive | Area | m2 | 500 | 5000 | 25000 | 0
79 | 2.7.12.11 | Covering Sloping Green Roof Intensive | Area | m2 | 500 | 5000 | 25000 | 0
80 | 2.7.12.12 | Covering Sloping Roof (Slates) | Area | m2 | 500 | 5000 | 25000 | 0
81 | 2.7.12.13 | Covering Sloping Roof Sandwich panels | Area | m2 | 500 | 5000 | 25000 | 0
82 | 2.7.12.50 | Construction Sloping Roof General | Area | m2 | 500 | 5000 | 25000 | 0
83 | 2.7.12.51 | Construction Sloping Roof Concrete | Area | m2 | 500 | 5000 | 25000 | 0
84 | 2.7.12.52 | Construction Sloping Roof Wood | Area | m2 | 500 | 5000 | 25000 | 0
85 | 2.7.12.53 | Construction Sloping Roof Plastic | Area | m2 | 500 | 5000 | 25000 | 0
86 | 2.7.12.54 | Construction Sloping Roof Metal | Area | m2 | 500 | 5000 | 25000 | 0
87 | 2.7.12.55 | Construction Sloping Roof Aluminium | Area | m2 | 500 | 5000 | 25000 | 0
88 | 2.7.13.00 | Covering Awning | Area | m2 | 500 | 5000 | 25000 | 0
89 | 2.7.13.05 | Construction Awning | Area | m2 | 100 | 1000 | 5000 | 0
90 | 2.7.14.00 | Covering Canopy | Area | m2 | 500 | 5000 | 25000 | 0
91 | 2.7.14.05 | Construction Canopy | Area | m2 | 100 | 1000 | 5000 | 0
92 | 2.7.14.10 | Support Beam general | Length | m1 | 1 | 10 | 50 | 0
93 | 2.7.14.11 | Support Beam Steel | Length | m1 | 1 | 10 | 50 | 0
94 | 2.7.14.12 | Support Beam concrete | Length | m1 | 1 | 10 | 50 | 0
95 | 2.7.14.15 | Roof Overhang | Area | m2 | 5 | 50 | 250 | 0
96 | 2.7.16.00 | Gutter General | Length | m1 | 5 | 50 | 250 | 0
97 | 2.7.16.01 | Gutter PVC | Length | m1 | 5 | 50 | 250 | 0
98 | 2.7.16.02 | Gutter Zinc | Length | m1 | 5 | 50 | 250 | 0
99 | 2.7.16.03 | Gutter Concrete | Length | m1 | 5 | 50 | 250 | 0
100 | 2.7.16.04 | Gutter Steel | Length | m1 | 5 | 50 | 250 | 0
101 | 2.7.16.05 | Gutter Plastics | Length | m1 | 5 | 50 | 250 | 0
102 | 2.7.16.06 | Gutter Wood | Length | m1 | 5 | 50 | 250 | 0
103 | 2.7.16.07 | Gutter Polyester | Length | m1 | 5 | 50 | 250 | 0
104 | 2.8.11.00 | Columns General | Length | m1 | 1 | 10 | 50 | 0
105 | 2.8.11.01 | Columns Steel | Length | m1 | 1 | 10 | 50 | 0
106 | 2.8.11.02 | Columns Concrete | Length | m1 | 1 | 10 | 50 | 0
107 | 2.8.11.05 | Plinth | Length | m1 | 1 | 10 | 50 | 0
108 | 2.8.11.10 | Beams General | Length | m1 | 1 | 10 | 50 | 0
109 | 2.8.11.11 | Beams Steel | Length | m1 | 1 | 10 | 50 | 0
110 | 2.8.11.12 | Beams Concrete | Length | m1 | 1 | 10 | 50 | 0
111 | 2.8.11.15 | Beam bracket | Length | m1 | 1 | 10 | 50 | 0
112 | 2.8.12.00 | Bulkhead-Support Beam | Length | m1 | 1 | 10 | 50 | 0
113 | 2.8.12.05 | Wind bracing | Length | m1 | 1 | 10 | 50 | 0
114 | 2.8.21.00 | Bearing Floor | Area | m2 | 100 | 1000 | 5000 | 0
115 | 2.8.21.10 | Bearing Wall General | Area | m2 | 100 | 1000 | 5000 | 0
116 | 2.8.21.11 | Bearing Wall Concrete | Area | m2 | 100 | 1000 | 5000 | 0
117 | 2.8.21.12 | Bearing Wall Maconery | Area | m2 | 100 | 1000 | 5000 | 0
118 | 2.8.22.00 | Bearing Wall interior | Area | m2 | 100 | 1000 | 5000 | 0
119 | 2.9.10.00 | Cellar walls and floors | Area | m2 | 100 | 1000 | 5000 | 0
120 | 3.1.20.00 | Window Sill General | Length | m1 | 1 | 10 | 50 | 0
121 | 3.1.20.01 | Window Sill Plastic | Length | m1 | 1 | 10 | 50 | 0
122 | 3.1.20.02 | Window Sill Metal | Length | m1 | 1 | 10 | 50 | 0
123 | 3.1.20.03 | Window Sill Bricks | Length | m1 | 1 | 10 | 50 | 0
124 | 3.1.20.04 | Window Sill Natural Stone | Length | m1 | 1 | 10 | 50 | 0
125 | 3.1.20.05 | Window Sill Wood | Length | m1 | 1 | 10 | 50 | 0
126 | 3.1.21.00 | Closed Windows (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
127 | 3.1.21.01 | Closed Windows (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
128 | 3.1.21.02 | Closed Windows (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
129 | 3.1.21.03 | Closed Windows (Outer) Wood | Area | m2 | 4 | 40 | 200 | 0
130 | 3.1.21.04 | Closed Windows (Outer) Concrete | Area | m2 | 4 | 40 | 200 | 0
131 | 3.1.22.00 | Window opening on 1 side (Outer) General | Area | m2 | 2 | 20 | 100 | 0
132 | 3.1.22.01 | Window opening on 1 side (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
133 | 3.1.22.02 | Window opening on 1 side (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
134 | 3.1.22.03 | Window opening on 1 side (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
135 | 3.1.22.04 | Window opening on 1 side (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
136 | 3.1.23.00 | Sliding Windows (Outer) General | Area | m2 | 2 | 20 | 100 | 0
137 | 3.1.23.01 | Sliding Windows (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
138 | 3.1.23.02 | Sliding Windows (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
139 | 3.1.23.03 | Sliding Windows (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
140 | 3.1.23.04 | Sliding Windows (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
141 | 3.1.24.00 | Window rotating on a vertical or horizontal axis (Outer) General | Area | m2 | 2 | 20 | 100 | 0
142 | 3.1.24.01 | Window rotating on a vertical or horizontal axis (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
143 | 3.1.24.02 | Window rotating on a vertical or horizontal axis (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
144 | 3.1.24.03 | Window rotating on a vertical or horizontal axis (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
145 | 3.1.24.04 | Window rotating on a vertical or horizontal axis (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
146 | 3.1.25.00 | Combination Window (Outer) General | Area | m2 | 4 | 40 | 200 | 0
147 | 3.1.25.01 | Combination Window (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
148 | 3.1.25.02 | Combination Window (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
149 | 3.1.25.03 | Combination Window (Outer) Wood | Area | m2 | 4 | 40 | 200 | 0
150 | 3.1.25.04 | Combination Window (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
151 | 3.1.26.00 | Double Window opening on 1 side (Outer) General | Area | m2 | 4 | 40 | 200 | 0
152 | 3.1.26.01 | Double Window opening on 1 side (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
153 | 3.1.26.02 | Double Window opening on 1 side (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
154 | 3.1.26.03 | Double Window opening on 1 side (Outer) Wood | Area | m2 | 4 | 40 | 200 | 0
155 | 3.1.26.04 | Double Window opening on 1 side (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
156 | 3.1.27.00 | Double window rotating on a vertical or horizontal axis (Outer) General | Area | m2 | 4 | 40 | 200 | 0
157 | 3.1.27.01 | Double window rotating on a vertical or horizontal axis (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
158 | 3.1.27.02 | Double window rotating on a vertical or horizontal axis (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
159 | 3.1.27.03 | Double window rotating on a vertical or horizontal axis (Outer) Wood | Area | m2 | 4 | 40 | 200 | 0
160 | 3.1.27.04 | Double window rotating on a vertical or horizontal axis (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
161 | 3.1.28.00 | Double Combination Windows (Outer) General | Area | m2 | 4 | 40 | 200 | 0
162 | 3.1.28.01 | Double Combination Windows (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
163 | 3.1.28.02 | Double Combination Windows (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
164 | 3.1.28.03 | Double Combination Windows (Outer) Wood | Area | m2 | 4 | 40 | 200 | 0
165 | 3.1.28.04 | Double Combination Windows (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
166 | 3.1.30.00 | Door Sill General | Length | m1 | 1 | 10 | 50 | 0
167 | 3.1.30.01 | Door Sill Hard Stone | Length | m1 | 1 | 10 | 50 | 0
168 | 3.1.30.02 | Door Sill Natural Stone | Length | m1 | 1 | 10 | 50 | 0
169 | 3.1.30.03 | Door Sill Terrazzo | Length | m1 | 1 | 10 | 50 | 0
170 | 3.1.30.04 | Door Sill Concrete | Length | m1 | 1 | 10 | 50 | 0
171 | 3.1.30.05 | Electrical Lock | Number | pcs | 1 | 1 | 1 | 0
172 | 3.1.31.00 | Manual Swing Doors General | Area | m2 | 2 | 20 | 100 | 0
173 | 3.1.31.01 | Manual Swing Doors PVC | Area | m2 | 2 | 20 | 100 | 0
174 | 3.1.31.02 | Manual Swing Doors Wood | Area | m2 | 2 | 20 | 100 | 0
175 | 3.1.31.03 | Manual Swing Doors Steel | Area | m2 | 2 | 20 | 100 | 0
176 | 3.1.31.04 | Manual Swing Doors Glass | Area | m2 | 2 | 20 | 100 | 0
177 | 3.1.31.05 | Manual Swing Doors Aluminium | Area | m2 | 2 | 20 | 100 | 0
178 | 3.1.31.10 | Automatic Swing Doors Aluminium | Area | m2 | 2 | 20 | 100 | 0
179 | 3.1.31.11 | Automatic Swing Doors PVC | Area | m2 | 2 | 20 | 100 | 0
180 | 3.1.31.12 | Automatic Swing Doors Wood | Area | m2 | 2 | 20 | 100 | 0
181 | 3.1.31.13 | Automatic Swing Doors Steel | Area | m2 | 2 | 20 | 100 | 0
182 | 3.1.31.14 | Automatic Swing Doors Glass | Area | m2 | 2 | 20 | 100 | 0
183 | 3.1.32.00 | Manual Sliding Door (Outer) General | Area | m2 | 2 | 20 | 100 | 0
184 | 3.1.32.01 | Manual Sliding Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
185 | 3.1.32.02 | Manual Sliding Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
186 | 3.1.32.03 | Manual Sliding Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
187 | 3.1.32.04 | Manual Sliding Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
188 | 3.1.32.05 | Manual Sliding Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
189 | 3.1.32.10 | Automatic Sliding Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
190 | 3.1.32.11 | Automatic Sliding Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
191 | 3.1.32.12 | Automatic Sliding Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
192 | 3.1.32.13 | Automatic Sliding Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
193 | 3.1.32.14 | Automatic Sliding Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
194 | 3.1.33.00 | Manual Tilt Doors General | Area | m2 | 2 | 20 | 100 | 0
195 | 3.1.33.01 | Manual Tilt Doors PVC | Area | m2 | 2 | 20 | 100 | 0
196 | 3.1.33.02 | Manual Tilt Doors Wood | Area | m2 | 2 | 20 | 100 | 0
197 | 3.1.33.03 | Manual Tilt Doors Steel | Area | m2 | 2 | 20 | 100 | 0
198 | 3.1.33.04 | Manual Tilt Doors Glass | Area | m2 | 2 | 20 | 100 | 0
199 | 3.1.33.05 | Manual Tilt Doors Aluminium | Area | m2 | 2 | 20 | 100 | 0
200 | 3.1.33.10 | Manual Sectional Door (Outer) General | Area | m2 | 2 | 20 | 100 | 0
201 | 3.1.33.11 | Manual Sectional Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
202 | 3.1.33.12 | Manual Sectional Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
203 | 3.1.33.13 | Manual Sectional Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
204 | 3.1.33.14 | Manual Sectional Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
205 | 3.1.33.15 | Manual Sectional Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
206 | 3.1.33.20 | Automatic Tilt Doors Aluminium | Area | m2 | 2 | 20 | 100 | 0
207 | 3.1.33.21 | Automatic Tilt Doors PVC | Area | m2 | 2 | 20 | 100 | 0
208 | 3.1.33.22 | Automatic Tilt Doors Wood | Area | m2 | 2 | 20 | 100 | 0
209 | 3.1.33.23 | Automatic Tilt Doors Steel | Area | m2 | 2 | 20 | 100 | 0
210 | 3.1.33.24 | Automatic Tilt Doors Glass | Area | m2 | 2 | 20 | 100 | 0
211 | 3.1.34.00 | Manual Revolving Door General | Area | m2 | 2 | 20 | 100 | 0
212 | 3.1.34.01 | Manual Revolving Door PVC | Area | m2 | 2 | 20 | 100 | 0
213 | 3.1.34.02 | Manual Revolving Door Wood | Area | m2 | 2 | 20 | 100 | 0
214 | 3.1.34.03 | Manual Revolving Door Steel | Area | m2 | 2 | 20 | 100 | 0
215 | 3.1.34.04 | Manual Revolving Door Glass | Area | m2 | 2 | 20 | 100 | 0
216 | 3.1.34.05 | Manual Revolving Door Aluminium | Area | m2 | 2 | 20 | 100 | 0
217 | 3.1.34.10 | Automatic Turnstile Aluminium | Area | m2 | 2 | 20 | 100 | 0
218 | 3.1.34.11 | Automatic Revolving Door PVC | Area | m2 | 2 | 20 | 100 | 0
219 | 3.1.34.12 | Automatic Revolving Door Wood | Area | m2 | 2 | 20 | 100 | 0
220 | 3.1.34.13 | Automatic Revolving Door Steel | Area | m2 | 2 | 20 | 100 | 0
221 | 3.1.34.14 | Automatic Revolving Door Glass | Area | m2 | 2 | 20 | 100 | 0
222 | 3.1.35.00 | Manual Double Swing Door (Outer) General | Area | m2 | 2 | 20 | 100 | 0
223 | 3.1.35.01 | Manual Double Swing Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
224 | 3.1.35.02 | Manual Double Swing Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
225 | 3.1.35.03 | Manual Double Swing Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
226 | 3.1.35.04 | Manual Double Swing Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
227 | 3.1.35.05 | Manual Double Swing Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
228 | 3.1.35.10 | Automatic Double Swing Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
229 | 3.1.35.11 | Automatic Double Swing Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
230 | 3.1.35.12 | Automatic Double Swing Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
231 | 3.1.35.13 | Automatic Double Swing Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
232 | 3.1.35.14 | Automatic Double Swing Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
233 | 3.1.36.00 | Manual Double Sliding Door (Outer) General | Area | m2 | 2 | 20 | 100 | 0
234 | 3.1.36.01 | Manual Double Sliding Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
235 | 3.1.36.02 | Manual Double Sliding Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
236 | 3.1.36.03 | Manual Double Sliding Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
237 | 3.1.36.04 | Manual Double Sliding Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
238 | 3.1.36.05 | Manual Double Sliding Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
239 | 3.1.36.10 | Automatic Double Sliding Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
240 | 3.1.36.11 | Automatic Double Sliding Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
241 | 3.1.36.12 | Automatic Double Sliding Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
242 | 3.1.36.13 | Automatic Double Sliding Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
243 | 3.1.36.14 | Automatic Double Sliding Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
244 | 3.1.50.01 | Facade Louvre (Aluminium) | Area | m2 | 10 | 100 | 500 | 0
245 | 3.1.50.02 | Facade Louvre (Steel) | Area | m2 | 10 | 100 | 500 | 0
246 | 3.2.21.00 | Closed Window (Inner) | Area | m2 | 12 | 120 | 600 | 0
247 | 3.2.22.00 | Window opening on 1 side (Inner) | Area | m2 | 2 | 20 | 100 | 0
248 | 3.2.22.01 | Double Window opening on 1 side (Inner) | Area | m2 | 4 | 40 | 200 | 0
249 | 3.2.23.00 | Sliding Window (Inner) | Area | m2 | 2 | 20 | 100 | 0
250 | 3.2.24.00 | Window rotating on a vertical or horizontal axis (Inner) | Area | m2 | 2 | 20 | 100 | 0
251 | 3.2.24.01 | Double Window rotating on a vertical or horizontal axis (Inner) | Area | m2 | 4 | 40 | 200 | 0
252 | 3.2.25.00 | Combination Window (Inner) | Area | m2 | 2 | 20 | 100 | 0
253 | 3.2.25.01 | Double Combination Window (Inner) | Area | m2 | 4 | 40 | 200 | 0
254 | 3.2.31.00 | Manual Revolving Doors (Inner) | Area | m2 | 4 | 40 | 200 | 0
255 | 3.2.31.01 | Automatic Revolving Door (Inner) | Area | m2 | 4 | 40 | 200 | 0
256 | 3.2.31.02 | Manual Double Revolving Door (Inner) | Area | m2 | 4 | 40 | 200 | 0
257 | 3.2.31.03 | Automatic Double Revolving Door (Inner) | Area | m2 | 4 | 40 | 200 | 0
258 | 3.2.31.04 | Porte-2 | Area | m2 | 2 | 20 | 100 | 0
259 | 3.2.31.05 | Porte-3 | Area | m2 | 2 | 20 | 100 | 0
260 | 3.2.31.10 | Automatic Revolving Door (Outer) General | Area | m2 | 2 | 20 | 100 | 0
261 | 3.2.31.11 | Automatic Revolving Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
262 | 3.2.31.12 | Automatic Revolving Door (Outer) wood | Area | m2 | 2 | 20 | 100 | 0
263 | 3.2.31.13 | Automatic Revolving Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
264 | 3.2.31.14 | Automatic Revolving Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
265 | 3.2.31.15 | Automatic Revolving Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
266 | 3.2.31.20 | Double Manual Revolving Door (Outer) General | Area | m2 | 4 | 40 | 200 | 0
267 | 3.2.31.21 | Double Manual Revolving Door (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
268 | 3.2.31.22 | Double Manual Revolving Door (Outer) wood | Area | m2 | 4 | 40 | 200 | 0
269 | 3.2.31.23 | Double Manual Revolving Door (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
270 | 3.2.31.24 | Double Manual Revolving Door (Outer) Glass | Area | m2 | 4 | 40 | 200 | 0
271 | 3.2.31.25 | Double Manual Revolving Door (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
272 | 3.2.31.30 | Double automatic Revolving Door (Outer) General | Area | m2 | 4 | 40 | 200 | 0
273 | 3.2.31.31 | Double automatic Revolving Door (Outer) PVC | Area | m2 | 4 | 40 | 200 | 0
274 | 3.2.31.32 | Double automatic Revolving Door (Outer) wood | Area | m2 | 4 | 40 | 200 | 0
275 | 3.2.31.33 | Double automatic Revolving Door (Outer) Steel | Area | m2 | 4 | 40 | 200 | 0
276 | 3.2.31.34 | Double automatic Revolving Door (Outer) Glass | Area | m2 | 4 | 40 | 200 | 0
277 | 3.2.31.35 | Double automatic Revolving Door (Outer) Aluminium | Area | m2 | 4 | 40 | 200 | 0
278 | 3.2.32.00 | Manual Sliding Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
279 | 3.2.32.01 | Automatic Sliding Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
280 | 3.2.32.02 | Manual Double Sliding Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
281 | 3.2.32.03 | Automatic Double Sliding Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
282 | 3.2.32.05 | Automatic Access Door with badge (Inner) | Area | m2 | 2 | 20 | 100 | 0
283 | 3.2.33.10 | Manual Sectional Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
284 | 3.2.33.11 | Automatic Sectional Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
285 | 3.2.33.12 | Automatic Fast Closing Door (Inner) | Area | m2 | 2 | 20 | 100 | 0
286 | 3.2.34.00 | Manual Turnstile | Area | m2 | 2 | 20 | 100 | 0
287 | 3.2.34.01 | Automatic Turnstile | Area | m2 | 2 | 20 | 100 | 0
288 | 3.3.33.30 | Automatic Sectional Door (Outer) Aluminium | Area | m2 | 2 | 20 | 100 | 0
289 | 3.3.33.31 | Automatic Sectional Door (Outer) PVC | Area | m2 | 2 | 20 | 100 | 0
290 | 3.3.33.32 | Automatic Sectional Door (Outer) Wood | Area | m2 | 2 | 20 | 100 | 0
291 | 3.3.33.33 | Automatic Sectional Door (Outer) Steel | Area | m2 | 2 | 20 | 100 | 0
292 | 3.3.33.34 | Automatic Sectional Door (Outer) Glass | Area | m2 | 2 | 20 | 100 | 0
293 | 3.4.11.00 | Inner Balustrades | Area | m2 | 2 | 20 | 100 | 0
294 | 3.4.12.00 | Outer Balustrades | Area | m2 | 2 | 20 | 100 | 0
295 | 3.4.21.00 | Inner Railing Stairs | Area | m2 | 2 | 20 | 100 | 0
296 | 3.4.21.01 | Inner Railing | Length | m1 | 1 | 10 | 50 | 0
297 | 3.4.22.00 | Outer Railing Stairs | Area | m2 | 2 | 20 | 100 | 0
298 | 3.4.22.01 | Outer Railing | Length | m1 | 1 | 10 | 50 | 0
299 | 3.7.21.00 | Closed Roof Windows General | Area | m2 | 1 | 10 | 50 | 0
300 | 3.7.21.01 | Skylight-2 | Area | m2 | 1 | 10 | 50 | 0
301 | 3.7.21.02 | Light Dome-2 | Area | m2 | 1 | 10 | 50 | 0
302 | 3.7.21.03 | Closed Roof Windows PVC | Area | m2 | 2 | 20 | 100 | 0
303 | 3.7.21.04 | Closed Roof Windows Steel | Area | m2 | 2 | 20 | 100 | 0
304 | 3.7.21.05 | Closed Roof Windows Wood | Area | m2 | 2 | 20 | 100 | 0
305 | 3.7.21.06 | Closed Roof Windows Aluminium | Area | m2 | 2 | 20 | 100 | 0
306 | 3.7.21.10 | Skylight | Area | m2 | 1 | 10 | 50 | 0
307 | 3.7.21.20 | Light Dome | Area | m2 | 1 | 10 | 50 | 0
308 | 3.7.21.30 | Dormer | Area | m2 | 1 | 10 | 50 | 0
309 | 3.7.22.00 | Window opening on 1 side General | Area | m2 | 2 | 20 | 100 | 0
310 | 3.7.22.01 | Window opening on 1 side PVC | Area | m2 | 2 | 20 | 100 | 0
311 | 3.7.22.02 | Window opening on 1 side Steel | Area | m2 | 2 | 20 | 100 | 0
312 | 3.7.22.03 | Window opening on 1 side Wood | Area | m2 | 2 | 20 | 100 | 0
313 | 3.7.22.04 | Window opening on 1 side Aluminium | Area | m2 | 2 | 20 | 100 | 0
314 | 3.7.23.00 | Sliding Roof Windows General | Area | m2 | 2 | 20 | 100 | 0
315 | 3.7.23.01 | Sliding Roof Windows PVC | Area | m2 | 2 | 20 | 100 | 0
316 | 3.7.23.02 | Sliding Roof Windows Steel | Area | m2 | 2 | 20 | 100 | 0
317 | 3.7.23.03 | Sliding Roof Windows Wood | Area | m2 | 2 | 20 | 100 | 0
318 | 3.7.23.04 | Sliding Roof Windows Aluminium | Area | m2 | 2 | 20 | 100 | 0
319 | 3.7.24.00 | Roof Windows rotating on a vertical or horizontal axis General | Area | m2 | 2 | 20 | 100 | 0
320 | 3.7.24.01 | Roof Windows rotating on a vertical or horizontal axis PVC | Area | m2 | 2 | 20 | 100 | 0
321 | 3.7.24.02 | Roof Windows rotating on a vertical or horizontal axis Steel | Area | m2 | 2 | 20 | 100 | 0
322 | 3.7.24.03 | Roof Windows rotating on a vertical or horizontal axis Wood | Area | m2 | 2 | 20 | 100 | 0
323 | 3.7.24.04 | Roof Windows rotating on a vertical or horizontal axis Aluminium | Area | m2 | 2 | 20 | 100 | 0
324 | 3.7.25.00 | Combination Windows (Roof) General | Area | m2 | 2 | 20 | 100 | 0
325 | 3.7.25.01 | Combination Windows (Roof) PVC | Area | m2 | 2 | 20 | 100 | 0
326 | 3.7.25.02 | Combination Windows (Roof) Steel | Area | m2 | 2 | 20 | 100 | 0
327 | 3.7.25.03 | Combination Windows (Roof) Wood | Area | m2 | 2 | 20 | 100 | 0
328 | 3.7.25.04 | Combination Windows (Roof) Aluminium | Area | m2 | 2 | 20 | 100 | 0
329 | 4.1.11.00 | Facade Finishing | Area | m2 | 5 | 50 | 250 | 0
330 | 4.1.12.00 | Facade Cladding General | Area | m2 | 5 | 50 | 250 | 0
331 | 4.1.12.01 | Facade Cladding Bardage | Area | m2 | 5 | 50 | 250 | 0
332 | 4.1.12.02 | Facade Cladding bardage on inner boxes | Area | m2 | 5 | 50 | 250 | 0
333 | 4.1.12.03 | Facade Cladding Sandwichpanels | Area | m2 | 5 | 50 | 250 | 0
334 | 4.1.12.04 | Facade Cladding Steel panels | Area | m2 | 5 | 50 | 250 | 0
335 | 4.1.12.05 | Facade Cladding Concrete | Area | m2 | 5 | 50 | 250 | 0
336 | 4.1.12.50 | Facade plinth general | Length | m1 | 1 | 10 | 50 | 0
337 | 4.1.12.51 | Facade plinth concrete | Area | m2 | 1 | 10 | 50 | 0
338 | 4.5.11.00 | Lowered Ceiling | Area | m2 | 5 | 50 | 250 | 0
339 | 4.5.12.00 | System Ceiling | Area | m2 | 5 | 50 | 250 | 0
340 | 4.5.21.00 | Naked Ceiling | Area | m2 | 5 | 50 | 250 | 0
341 | 4.5.22.00 | Clad Ceiling | Area | m2 | 5 | 50 | 250 | 0
342 | 5.1.11.00 | Gasfired Air Heater | Power | kW | 40 | 400 | 2000 | 0
343 | 5.1.11.01 | Condensating gasfired Air Heater | Power | kW | 40 | 400 | 2000 | 0
344 | 5.1.11.10 | Hot Air Generator + gas burner | Power | kW | 40 | 400 | 2000 | 0
345 | 5.1.11.20 | Gas Convector | Power | kW | 10 | 100 | 500 | 0
346 | 5.1.11.30 | Gasfired Radiant Tube | Power | kW | 10 | 100 | 500 | 0
347 | 5.1.12.00 | Hot Air Generator + fuel burner | Power | kW | 10 | 100 | 500 | 0
348 | 5.1.12.10 | Fuel Heater | Power | kW | 10 | 100 | 500 | 0
349 | 5.1.13.00 | Solid Fuel Heater | Power | kW | 10 | 100 | 500 | 0
350 | 5.1.13.10 | Fire place | Power | kW | 10 | 100 | 500 | 0
351 | 5.1.21.00 | Wallmounted Gas Boiler | Power | kW | 40 | 400 | 2000 | 0
352 | 5.1.21.01 | Wallmounted Condensating Gas Boiler | Power | kW | 40 | 400 | 2000 | 0
353 | 5.1.21.10 | Atmospheric Boiler | Power | kW | 40 | 400 | 2000 | 0
354 | 5.1.21.20 | Gas Boiler | Power | kW | 40 | 400 | 2000 | 0
355 | 5.1.21.21 | Condensating Gas Boiler | Power | kW | 40 | 400 | 2000 | 0
356 | 5.1.21.25 | Air Ventilated Gas Burner | Power | kW | 40 | 400 | 2000 | 0
357 | 5.1.21.60 | Thermal Oil Boiler (gas) | Power | kW | 40 | 400 | 2000 | 0
358 | 5.1.22.00 | Wallmounted Boiler | Power | kW | 40 | 400 | 2000 | 0
359 | 5.1.22.01 | Wallmounted Condensating Boiler | Power | kW | 40 | 400 | 2000 | 0
360 | 5.1.22.10 | Fuel Boiler | Power | kW | 40 | 400 | 2000 | 0
361 | 5.1.22.11 | Condensating Fuel Boiler | Power | kW | 40 | 400 | 2000 | 0
362 | 5.1.22.15 | Fuel Burner | Power | kW | 40 | 400 | 2000 | 0
363 | 5.1.22.50 | Thermal Oil Boiler (fuel) | Power | kW | 40 | 400 | 2000 | 0
364 | 5.1.23.00 | Boiler (Solid Fuel) | Power | kW | 40 | 400 | 2000 | 0
365 | 5.1.23.10 | Biomass | Number | pcs | 1 | 1 | 1 | 0
366 | 5.1.24.00 | Chimney (gas boiler) | Length | m1 | 1 | 10 | 50 | 0
367 | 5.1.24.10 | Chimney (Fuel Boiler) | Length | m1 | 1 | 10 | 50 | 0
368 | 5.1.24.20 | Chimney (Solid Fuel) | Length | m1 | 1 | 10 | 50 | 0
369 | 5.1.29.00 | Fuel Tank (Underground)(Heating) | Content | L | 200 | 2000 | 10000 | 0
370 | 5.1.29.10 | Fuel Tank (Overground)(Heating) | Content | L | 200 | 2000 | 10000 | 0
371 | 5.1.29.20 | Transfer Pump Fuel (Heating) | Diameter | mm | 10 | 100 | 500 | 0
372 | 5.1.30.00 | Tube Heat Exchanger Heating | Power | kW | 10 | 100 | 500 | 0
373 | 5.1.30.10 | Plate Heat Exchanger Heating | Power | kW | 500 | 5000 | 25000 | 0
374 | 5.1.30.15 | Heat Interface Unit | Power | kW | 500 | 5000 | 25000 | 0
375 | 5.1.30.20 | Electrical Heat Exchanger | Power | kW | 500 | 5000 | 25000 | 0
376 | 5.1.33.00 | Steam Boiler LP < 0,5 bar (gas) | Power | kW | 10 | 100 | 500 | 0
377 | 5.1.33.01 | Steam Boiler LP < 0,5 bar (gas) + economiser | Power | kW | 10 | 100 | 500 | 0
378 | 5.1.33.05 | Steam Boiler HP > 0,5 bar (gas) | Power | kW | 10 | 100 | 500 | 0
379 | 5.1.33.06 | Steam Boiler HP > 0,5 bar (gas) + economiser | Power | kW | 10 | 100 | 500 | 0
380 | 5.1.33.10 | Steam Generator LP (Gas) | Power | kW | 46 | 460 | 2300 | 0
381 | 5.1.33.11 | Steam Generator HP (Gas) | Power | kW | 10 | 100 | 500 | 0
382 | 5.1.33.20 | Steam Boiler LP < 0,5 bar (Fuel) | Power | kW | 46 | 460 | 2300 | 0
383 | 5.1.33.21 | Steam Boiler LP < 0,5 bar (Fuel) + economiser | Power | kW | 46 | 460 | 2300 | 0
384 | 5.1.33.25 | Steam Boiler HP > 0,5 bar (Fuel) | Power | kW | 10 | 100 | 500 | 0
385 | 5.1.33.26 | Steam Boiler HP > 0,5 bar (Fuel) + economiser | Power | kW | 10 | 100 | 500 | 0
386 | 5.1.33.31 | Steam Generator LP (Fuel) | Power | kW | 46 | 460 | 2300 | 0
387 | 5.1.33.32 | Steam Generator HP (Fuel) | Power | kW | 10 | 100 | 500 | 0
388 | 5.1.33.41 | Steam Generator LP (Electrical) | Power | kW | 46 | 460 | 2300 | 0
389 | 5.1.33.42 | Steam Generator HP (Electrical) | Power | kW | 10 | 100 | 500 | 0
390 | 5.1.33.50 | Steam Heat Exchanger | Power | kW | 500 | 5000 | 25000 | 0
391 | 5.1.41.00 | Warmtekrachtkoppeling | Power | kW | 500 | 5000 | 25000 | 0
392 | 5.1.44.00 | Chimney (Cogeneration) | Length | m1 | 1 | 10 | 50 | 0
393 | 5.1.49.00 | Fuel Tank (Underground) Cogeneration | Content | L | 200 | 2000 | 10000 | 0
394 | 5.1.49.10 | Fuel Tank (Overground) Cogeneration | Content | L | 200 | 2000 | 10000 | 0
395 | 5.1.49.20 | Transfer Pump Fuel (Cogeneration) | Diameter | mm | 100 | 1000 | 5000 | 0
396 | 5.1.52.00 | Sun Collector (Heating) | Area | m2 | 2 | 20 | 100 | 0
397 | 5.1.53.00 | Accumulation | Power | kW | 1 | 10 | 50 | 0
398 | 5.1.53.01 | Electric Convector | Power | kW | 1 | 10 | 50 | 0
399 | 5.1.54.00 | Earth Heat | Power | kW | 10 | 100 | 500 | 0
400 | 5.2.11.00 | Sand Pond | Volume | m3 | 1 | 10 | 50 | 0
401 | 5.2.11.10 | Rainwater drainage pipelines in the building General | Length | m1 | 10 | 100 | 500 | 0
402 | 5.2.11.11 | Rainwater drainage pipelines inside the building Copper | Length | m1 | 10 | 100 | 500 | 0
403 | 5.2.11.12 | Rainwater drainage pipelines inside the building PVC | Length | m1 | 10 | 100 | 500 | 0
404 | 5.2.11.13 | Rainwater drainage pipelines inside the building Steel | Length | m1 | 10 | 100 | 500 | 0
405 | 5.2.11.14 | Rainwater drainage pipelines inside the building Cast iron | Length | m1 | 10 | 100 | 500 | 0
406 | 5.2.11.15 | Rainwater drainage pipelines inside the building PE | Length | m1 | 10 | 100 | 500 | 0
407 | 5.2.11.16 | Rainwater drainage pipelines inside the building Aluminium | Length | m1 | 10 | 100 | 500 | 0
408 | 5.2.11.17 | Rainwater drainage pipelines in the building Zinc | Length | m1 | 10 | 100 | 500 | 0
409 | 5.2.12.00 | Rainwater Well | Length | m1 | 10 | 100 | 500 | 0
410 | 5.2.12.10 | Rainwater drainage pipelines outside the building General | Length | m1 | 10 | 100 | 500 | 0
411 | 5.2.12.11 | Rainwater drainage pipelines outside the building Copper | Length | m1 | 10 | 100 | 500 | 0
412 | 5.2.12.12 | Rainwater drainage pipelines outside the building PVC | Length | m1 | 10 | 100 | 500 | 0
413 | 5.2.12.13 | Rainwater drainage pipelines outside the building Steel | Length | m1 | 10 | 100 | 500 | 0
414 | 5.2.12.14 | Rainwater drainage pipelines outside the building Cast iron | Length | m1 | 10 | 100 | 500 | 0
415 | 5.2.12.15 | Rainwater drainage pipelines outside the building PE | Length | m1 | 10 | 100 | 500 | 0
416 | 5.2.12.16 | Rainwater drainage pipelines outside the building Aluminium | Length | m1 | 10 | 100 | 500 | 0
417 | 5.2.12.17 | Rainwater drainage pipelines outside the building Zinc | Length | m1 | 10 | 100 | 500 | 0
418 | 5.2.16.00 | Cellar Pump (Sump pump) | Diameter | mm | 82 | 820 | 4100 | 0
419 | 5.2.16.10 | Rainwater Pump | Diameter | mm | 64 | 640 | 3200 | 0
420 | 5.2.21.00 | Septic Well | Content | L | 1000 | 10000 | 50000 | 0
421 | 5.2.21.10 | Faecal Pipes | Length | m1 | 10 | 100 | 500 | 0
422 | 5.2.26.00 | Feed Pump Faeces | Diameter | mm | 82 | 820 | 4100 | 0
423 | 5.2.32.00 | Olie- en benzineafscheider | Content | L | 50 | 500 | 2500 | 0
424 | 5.2.32.10 | Grease Seperator | Number | pcs | 1 | 1 | 1 | 0
425 | 5.2.32.20 | Water Treatment Plant | Number | pcs | 1 | 1 | 1 | 0
426 | 5.2.32.30 | Condensate Pump | Diameter | mm | 82 | 820 | 4100 | 0
427 | 5.3.11.00 | Water Filter | Number | pcs | 1 | 1 | 1 | 0
428 | 5.3.11.01 | Piping network - Drinking Water | Length | m1 | 5 | 50 | 250 | 0
429 | 5.3.11.10 | Refrigerated drinking fountain | Number | pcs | 1 | 1 | 1 | 0
430 | 5.3.14.00 | Drukverhogingsgroep (Multicellulair) | Amount | # of Pumps | 2 | 20 | 100 | 0
431 | 5.3.14.10 | Hydrophore pump | Diameter | mm | 82 | 820 | 4100 | 0
432 | 5.3.14.15 | Pressure Vessel Water | Content | L | 10 | 100 | 500 | 0
433 | 5.3.19.00 | Drinking water storage (plastic storage tank) | Content | L | 10 | 100 | 500 | 0
434 | 5.3.19.10 | Water storage (sprinkler) - above ground | Content | L | 46 | 460 | 2300 | 0
435 | 5.3.19.20 | Water storage (sprinkler) - Underground | Content | L | 10 | 100 | 500 | 0
436 | 5.3.20.00 | Circulator HSW | Diameter | mm | 25 | 250 | 1250 | 0
437 | 5.3.20.01 | Closed Expansion Vessel HSW | Content | L | 25 | 250 | 1250 | 0
438 | 5.3.20.02 | Motor Pump HSW | Diameter | mm | 82 | 820 | 4100 | 0
439 | 5.3.20.03 | Collector sanitary water | Amount | # of Connectors | 2 | 20 | 100 | 0
440 | 5.3.20.05 | Sanitary Hot water piping | Length | m1 | 1 | 10 | 50 | 0
441 | 5.3.21.00 | Electric Water Heater | Content | L | 10 | 100 | 500 | 0
442 | 5.3.21.01 | Electric Water Heater (flow-through) | Content | L | 10 | 100 | 500 | 0
443 | 5.3.21.05 | Boiler met warmtepomp | Diameter | mm | 10 | 100 | 500 | 0
444 | 5.3.22.00 | Atmospheric Water Heater | Content | L | 150 | 1500 | 7500 | 0
445 | 5.3.22.10 | Central Heating Water Heater | Power | W | 100 | 1000 | 5000 | 0
446 | 5.3.22.20 | Storage Vessel SHW | Content | L | 25 | 250 | 1250 | 0
447 | 5.3.22.30 | Solar Panels (HSW) | Area | m2 | 2 | 20 | 100 | 0
448 | 5.3.22.31 | Solar Boiler Storage Tank (HSW) | Content | L | 100 | 1000 | 5000 | 0
449 | 5.3.23.00 | Plate Heat Exchanger SHW (Stainless Steel) | Power | kW | 10 | 100 | 500 | 0
450 | 5.3.23.10 | Electrical Instant Water Heating Unit | Power | kW | 1 | 10 | 50 | 0
451 | 5.3.24.00 | Direct on gas water heating unit | Power | kW | 10 | 100 | 500 | 0
452 | 5.3.30.00 | Piping (Process water) | Length | m1 | 1 | 10 | 50 | 0
453 | 5.3.30.10 | Runner Pumps (Process Water) | Diameter | mm | 82 | 820 | 4100 | 0
454 | 5.3.34.00 | Runner Pumps (Pool Water) | Diameter | mm | 82 | 820 | 4100 | 0
455 | 5.3.34.10 | Vacuum Cleaner Pump (Balai Pump) | Diameter | mm | 100 | 1000 | 5000 | 0
456 | 5.3.34.20 | Piping (Pool water) | Length | m1 | 1 | 10 | 50 | 0
457 | 5.3.34.30 | Buffer Tank | Content | L | 750 | 7500 | 37500 | 0
458 | 5.3.50.00 | Conductivity Meter | Number | pcs | 1 | 1 | 1 | 0
459 | 5.3.50.10 | pH Meter | Number | pcs | 1 | 1 | 1 | 0
460 | 5.3.50.20 | Automatic Hardness Meter | Number | pcs | 1 | 1 | 1 | 0
461 | 5.3.50.30 | Cl & pH Analysis System | Number | pcs | 1 | 1 | 1 | 0
462 | 5.3.50.40 | Dosing Pumps | Diameter | mm | 82 | 820 | 4100 | 0
463 | 5.3.51.00 | Prefilter | Number | pcs | 1 | 1 | 1 | 0
464 | 5.3.51.10 | Sand Filter | Number | pcs | 1 | 1 | 1 | 0
465 | 5.3.51.11 | Bernoulli Filter | Number | pcs | 1 | 1 | 1 | 0
466 | 5.3.51.20 | Reversed Osmosis | Number | pcs | 1 | 1 | 1 | 0
467 | 5.3.52.00 | Water Softener | Number | pcs | 1 | 1 | 1 | 0
468 | 5.3.54.10 | Salt Electrolysis | Number | pcs | 1 | 1 | 1 | 0
469 | 5.3.54.20 | Demineralised water system | Number | pcs | 1 | 1 | 1 | 0
470 | 5.4.11.00 | Gas Piping | Length | m1 | 1 | 10 | 50 | 0
471 | 5.4.11.10 | Gas Valve | Number | pcs | 1 | 1 | 1 | 0
472 | 5.4.21.00 | Compressed Air - Piston Compressor | Power | kW | 1 | 10 | 50 | 0
473 | 5.4.21.01 | Compressed Air - Centrifugal Compressor | Power | kW | 10 | 100 | 500 | 0
474 | 5.4.21.02 | Compressed Air - Lubricated Screw Compressor | Power | kW | 10 | 100 | 500 | 0
475 | 5.4.21.03 | Compressed Air - Dry Screw Compressor | Power | kW | 10 | 100 | 500 | 0
476 | 5.4.21.10 | Cooling or Freeze Dryer | Power | kW | 1 | 10 | 50 | 0
477 | 5.4.21.11 | Adsorption dryer (Electrical regeneration) | Power | kW | 10 | 100 | 500 | 0
478 | 5.4.21.20 | Pressure Vessel Compressed Air | Content | L | 46 | 460 | 2300 | 0
479 | 5.4.21.30 | Compressed Air Filter | Number | pcs | 1 | 1 | 1 | 0
480 | 5.4.21.31 | Oil and Water Seperator | Number | pcs | 1 | 1 | 1 | 0
481 | 5.4.21.40 | Compressed Air Piping | Length | m1 | 1 | 10 | 50 | 0
482 | 5.4.22.00 | Vacuum Pump | Diameter | mm | 82 | 820 | 4100 | 0
483 | 5.5.11.00 | Window Units | Number | pcs | 1 | 1 | 1 | 0
484 | 5.5.12.00 | Heat Pump Air-Air (External Unit) | Power | kW | 3 | 30 | 150 | 0
485 | 5.5.12.01 | Heat Pump Air-Air (Internal Unit) | Power | kW | 3 | 30 | 150 | 0
486 | 5.5.12.02 | Heat Pump Air-Air (Internal&External Unit) | Power | kW | 3 | 30 | 150 | 0
487 | 5.5.12.10 | Heat Pump Air-Water (External Unit) | Power | kW | 3 | 30 | 150 | 0
488 | 5.5.12.11 | Heat Pump Air-Water (Internal Unit) | Power | kW | 3 | 30 | 150 | 0
489 | 5.5.12.20 | Heat Pump Water-Water (External Unit) | Power | kW | 3 | 30 | 150 | 0
490 | 5.5.12.30 | VRV - Multisplits (External Unit) - reversible | Power | kW | 3 | 30 | 150 | 0
491 | 5.5.12.31 | VRV - Multisplits (Internal Unit) - reversible | Power | kW | 3 | 30 | 150 | 0
492 | 5.5.12.35 | VRV - Multisplits (Internal and External Unit) - reversible | Power | kW | 3 | 30 | 150 | 0
493 | 5.5.12.40 | Cabinet Air Cooler with Direct Expansion | Power | kW | 3 | 30 | 150 | 0
494 | 5.5.21.00 | Cooling Unit Scroll-Semi-Hermetic Compressor | Power | kW | 1 | 10 | 50 | 0
495 | 5.5.21.01 | Cooling Unit Piston Compressor | Power | kW | 1 | 10 | 50 | 0
496 | 5.5.21.02 | Cooling Unit Centrifugal Compressor | Power | kW | 4.6 | 46 | 230 | 0
497 | 5.5.21.03 | Cool Unit Screw Compressor | Power | kW | 4.6 | 46 | 230 | 0
498 | 5.5.21.04 | Ammonia Cooling Unit | Power | kW | 4.6 | 46 | 230 | 0
499 | 5.5.21.10 | Open Cooling Tower | Power | kW | 1 | 10 | 50 | 0
500 | 5.5.21.11 | Closed Cooling Tower | Power | kW | 1 | 10 | 50 | 0
501 | 5.5.21.20 | Air Cooled Condenser | Power | kW | 1 | 10 | 50 | 0
502 | 5.5.21.21 | Water Cooled Condenser | Power | kW | 1 | 10 | 50 | 0
503 | 5.5.21.22 | Dry Cooler | Power | kW | 1 | 10 | 50 | 0
504 | 5.5.22.00 | Absorption Cooling Unit | Power | kW | 10 | 100 | 500 | 0
505 | 5.5.30.00 | Closed Expansion Vessel Cooling | Power | kW | 1 | 10 | 50 | 0
506 | 5.5.30.01 | Expansion Vessel with compressor Cooling | Power | kW | 1 | 10 | 50 | 0
507 | 5.5.30.02 | Liquid Receiver | Power | kW | 1 | 10 | 50 | 0
508 | 5.5.30.05 | Pressure Steps Deaerator Cooling | Power | kW | 1 | 10 | 50 | 0
509 | 5.5.30.10 | Circulation Pump Cooling | Diameter | mm | 82 | 820 | 4100 | 0
510 | 5.5.30.20 | Double Circulation Pump Cooling | Diameter | mm | 82 | 820 | 4100 | 0
511 | 5.5.30.30 | Inline Pump Cooling | Diameter | mm | 82 | 820 | 4100 | 0
512 | 5.5.30.40 | Double Inline Pump Cooling | Diameter | mm | 82 | 820 | 4100 | 0
513 | 5.5.30.50 | Motor Pump Cooling | Diameter | mm | 82 | 820 | 4100 | 0
514 | 5.5.30.70 | Motorised 2-way Valve-Butterfly Valve Cooling | Diameter | mm | 15 | 150 | 750 | 0
515 | 5.5.30.71 | Motorised 3-way Valve Cooling | Diameter | mm | 15 | 150 | 750 | 0
516 | 5.5.30.80 | Plate Heat Exchanger Cooling | Power | kW | 10 | 100 | 500 | 0
517 | 5.5.30.81 | Tube Heat Exchanger Cooling | Power | kW | 10 | 100 | 500 | 0
518 | 5.5.30.85 | Buffer Vessel Ice Water | Content | L | 55 | 550 | 2750 | 0
519 | 5.5.30.90 | Chilled Water Piping | Length | m1 | 1 | 10 | 50 | 0
520 | 5.5.30.91 | Refrigerant Piping | Length | m1 | 1 | 10 | 50 | 0
521 | 5.5.30.92 | Tracing | Length | m1 | 10 | 100 | 500 | 0
522 | 5.5.30.95 | Iced Water Collector | Content | L | 70 | 700 | 3500 | 0
523 | 5.5.31.00 | Cooled Ceiling - Cooled Beam | Area | m2 | 1 | 10 | 50 | 0
524 | 5.5.31.10 | Fan Coil Unit (2-pipes) Cooling | Power | kW | 1 | 10 | 50 | 0
525 | 5.5.31.20 | Pressure Induction Unit (2-pipes) Cooling | Power | kW | 1 | 10 | 50 | 0
526 | 5.6.10.00 | Closed Expansion Vessel Heating | Content | L | 25 | 250 | 1250 | 0
527 | 5.6.10.01 | Expansion Vessel with compressor Heating | Power | kW | 1 | 10 | 50 | 0
528 | 5.6.10.05 | Pressure Steps Deaerator Heating | Power | kW | 8.2 | 82 | 410 | 0
529 | 5.6.10.10 | Circulation Pump Heating | Diameter | mm | 82 | 820 | 4100 | 0
530 | 5.6.10.20 | Double Circulation Pump Heating | Diameter | mm | 82 | 820 | 4100 | 0
531 | 5.6.10.30 | Inline Pump Heating | Diameter | mm | 82 | 820 | 4100 | 0
532 | 5.6.10.40 | Double Inline Pump Heating | Diameter | mm | 82 | 820 | 4100 | 0
533 | 5.6.10.50 | Motor Pump Heating | Diameter | mm | 82 | 820 | 4100 | 0
534 | 5.6.10.70 | Motorised 2-way Valve-Butterfly Valve Heating | Diameter | mm | 15 | 150 | 750 | 0
535 | 5.6.10.71 | Motorised 3-way Valve Heating | Diameter | mm | 15 | 150 | 750 | 0
536 | 5.6.10.81 | Central Heating Hot Water Collector | Content | L | 40 | 400 | 2000 | 0
537 | 5.6.10.82 | Dirt Seperator | Number | pcs | 1 | 1 | 1 | 0
538 | 5.6.10.83 | Micro-bubble separator | Number | pcs | 1 | 1 | 1 | 0
539 | 5.6.10.84 | Automatic filling system heating water distribution | Number | pcs | 1 | 1 | 1 | 0
540 | 5.6.10.85 | Buffer Vessel Hot Water Distribution | Content | L | 70 | 700 | 3500 | 0
541 | 5.6.11.00 | Radiator | Power | W | 250 | 2500 | 12500 | 0
542 | 5.6.12.00 | Convector | Power | W | 250 | 2500 | 12500 | 0
543 | 5.6.13.00 | Circulator Serving Floor Heating | Power | W | 250 | 2500 | 12500 | 0
544 | 5.6.13.01 | Floor Heating (Hot Water) | Power | W | 250 | 2500 | 12500 | 0
545 | 5.6.13.05 | Floor Heating (Electrical) | Power | W | 250 | 2500 | 12500 | 0
546 | 5.6.20.00 | Safety Valve | Diameter | mm | 25 | 250 | 1250 | 0
547 | 5.6.20.01 | Control Valve | Diameter | mm | 25 | 250 | 1250 | 0
548 | 5.6.20.10 | Condensate Pot | Diameter | mm | 25 | 250 | 1250 | 0
549 | 5.6.20.20 | Condensate Pump (Ogden Pump) | Diameter | mm | 82 | 820 | 4100 | 0
550 | 5.6.20.40 | Condensate Tank | Content | L | 10 | 100 | 500 | 0
551 | 5.6.20.45 | Drainage Tank | Content | L | 10 | 100 | 500 | 0
552 | 5.6.20.50 | Piping Network Steam | Number | pcs | 1 | 1 | 1 | 0
553 | 5.6.20.60 | Steam Collector | Content | L | 10 | 100 | 500 | 0
554 | 5.6.32.00 | Fan Coil Unit (2-pipes) Heating | Power | kW | 1 | 10 | 50 | 0
555 | 5.6.32.01 | Fan Coil Unit (3-pipes) | Power | kW | 1 | 10 | 50 | 0
556 | 5.6.32.02 | Fan Coil Unit (4-pipes) | Power | kW | 1 | 10 | 50 | 0
557 | 5.6.32.10 | Pressure Induction Unit (2-pipes) Heating | Power | kW | 2 | 20 | 100 | 0
558 | 5.6.32.11 | Pressure Induction Unit (3-pipes) | Power | kW | 2 | 20 | 100 | 0
559 | 5.6.32.12 | Pressure Induction Unit (4-pipes) | Power | kW | 2 | 20 | 100 | 0
560 | 5.6.32.13 | Radiation panel | Power | W | 750 | 7500 | 37500 | 0
561 | 5.7.11.00 | Smoke Vent - Smoke and Heat Extraction System | Area | m2 | 1 | 10 | 50 | 0
562 | 5.7.11.01 | Smoke Vent (command panel) - Smoke and Heat Extraction System | Number | pcs | 1 | 1 | 1 | 0
563 | 5.7.11.02 | Window actuator - Smoke and Heat Extraction System | Number | pcs | 1 | 1 | 1 | 0
564 | 5.7.11.10 | Smoke Hatches - Smoke and Heat Extraction System | Number | pcs | 1 | 1 | 1 | 0
565 | 5.7.12.00 | Natural Ventilation (uncontrollable) | Area | m2 | 1 | 10 | 50 | 0
566 | 5.7.12.10 | Natural Ventilation (Controllable) | Area | m2 | 1 | 10 | 50 | 0
567 | 5.7.12.15 | Ventilation hood | Area | m2 | 1 | 10 | 50 | 0
568 | 5.7.21.00 | Window Fan | Number | pcs | 1 | 1 | 1 | 0
569 | 5.7.21.10 | Duct Fan | Number | pcs | 1 | 1 | 1 | 0
570 | 5.7.21.15 | Axial Fan | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
571 | 5.7.21.20 | Smoker`s cabin | Number | pcs | 1 | 1 | 1 | 0
572 | 5.7.31.00 | Extraction Unit | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
573 | 5.7.31.10 | Roof Extraction Unit | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
574 | 5.7.31.20 | Extraction - Smoke and Heat Extraction System | Number | pcs | 1 | 1 | 1 | 0
575 | 5.7.31.21 | Booster - Smoke and Heat Extraction System | Number | pcs | 1 | 1 | 1 | 0
576 | 5.7.31.22 | Central mechanical extraction system | Number | pcs | 1 | 1 | 1 | 0
577 | 5.7.61.00 | Cabinet Air Cooler (Iced Water Circuit) | Number | pcs | 1 | 1 | 1 | 0
578 | 5.7.61.10 | Air Heater (Water) | Power | kW | 18 | 180 | 900 | 0
579 | 5.7.61.11 | Air Heater (Electrical) | Power | kW | 18 | 180 | 900 | 0
580 | 5.7.61.20 | Air Curtain (Water) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
581 | 5.7.61.21 | Air Curtain (Electrical) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
582 | 5.7.70.00 | Postheating Battery | Number | pcs | 1 | 1 | 1 | 0
583 | 5.7.70.01 | Postcooling Battery | Number | pcs | 1 | 1 | 1 | 0
584 | 5.7.70.10 | Steam Humidifier | Mass rate | kg/h | 5 | 50 | 250 | 0
585 | 5.7.70.11 | Ultrasonic Humidifier | Number | pcs | 1 | 1 | 1 | 0
586 | 5.7.70.12 | Gasfired Steam Humidifier | Number | pcs | 1 | 1 | 1 | 0
587 | 5.7.70.20 | VAV | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
588 | 5.7.70.21 | CAV | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
589 | 5.7.70.30 | Heat Recovery Wheel | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
590 | 5.7.70.31 | Cross-flow heat exchanger | Power | kW | 500 | 5000 | 25000 | 0
591 | 5.7.70.40 | UV Anti-bateriological Unit | Number | pcs | 1 | 1 | 1 | 0
592 | 5.7.70.50 | Laminar Supply Air Plenum (Absolute Filters) | Number | pcs | 1 | 1 | 1 | 0
593 | 5.7.70.51 | Filter Section | Number | pcs | 1 | 1 | 1 | 0
594 | 5.7.70.60 | Motorised Register | Number | pcs | 1 | 1 | 1 | 0
595 | 5.7.70.61 | Pulsion Grill | Number | pcs | 1 | 1 | 1 | 0
596 | 5.7.70.62 | Extraction Grill | Number | pcs | 1 | 1 | 1 | 0
597 | 5.7.70.70 | Air Ducts | Length | m1 | 1 | 10 | 50 | 0
598 | 5.7.70.80 | Frequency controller fan (pulsation) | Power | W | 1000 | 10000 | 50000 | 0
599 | 5.7.70.90 | Fire Damper | Number | pcs | 1 | 1 | 1 | 0
600 | 5.7.71.00 | Air Handling Unit (Filter Section- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
601 | 5.7.71.01 | Air Handling Unit (Coarse + Fine Filter- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
602 | 5.7.71.02 | Air Handling Unit (Filter Section- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
603 | 5.7.71.03 | Air Handling Unit (Coarse + Fine Filter- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
604 | 5.7.71.10 | Air Handling Unit (1 battery-Filter section- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
605 | 5.7.71.11 | Air Handling Unit (1 battery-Coarse + Fine Filter- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
606 | 5.7.71.12 | Air Handling Unit (1 battery-Filter Section- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
607 | 5.7.71.13 | Air Handling Unit (1 battery-Coarse + Fine Filter- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
608 | 5.7.71.20 | Air Handling Unit (2 batteries (+--)-Filter section- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
609 | 5.7.71.21 | Air Handling Unit (2 batteries (+--)-Coarse + Fine Filter- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
610 | 5.7.71.22 | Air Handling Unit (2 batteries (+--)-Filter Section- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
611 | 5.7.71.23 | Air Handling Unit (2 batteries (+--)-Coarse + Fine Filter- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
612 | 5.7.71.30 | Air Handling Unit (3 batteries (+---+)-Filter section- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
613 | 5.7.71.31 | Air Handling Unit (3 batteries (+---+)-Coarse + Fine Filter- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
614 | 5.7.71.32 | Air Handling Unit (3 batteries (+---+)-Filter Section- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
615 | 5.7.71.33 | Air Handling Unit (3 batteries (+---+)-Coarse + Fine Filter- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
616 | 5.7.71.34 | Air Handling Unit (3 batteries (+---+)-Humidification-Filter section- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
617 | 5.7.71.35 | Air Handling Unit (3 batteries (+---+)-Humidification-Coarse + Fine Filter- 100% fresh Air) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
618 | 5.7.71.36 | Air Handling Unit (3 batteries (+---+)-Humidification-Filter Section- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
619 | 5.7.71.37 | Air Handling Unit (3 batteries (+---+)-Humidification-Coarse + Fine Filter- Heat Recuperation) | Flow rate | m3/h | 1500 | 15000 | 75000 | 0
620 | 5.8.11.00 | Thermostat | Number | pcs | 1 | 1 | 1 | 0
621 | 5.8.11.10 | Control Panel | Amount | # of Circuits | 10 | 100 | 500 | 0
622 | 5.8.11.20 | Frequency Controller | Power | kW | 2 | 20 | 100 | 0
623 | 5.8.21.00 | Thermical Energy Meter | Number | pcs | 1 | 1 | 1 | 0
624 | 5.8.21.10 | Gas Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
625 | 5.8.21.11 | Fuel Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
626 | 5.8.21.12 | Steam Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
627 | 5.8.21.20 | Water Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
628 | 5.8.21.30 | Electricity Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
629 | 5.8.21.40 | Compressed Air Meter | Flow rate | m3/h | 10 | 100 | 500 | 0
630 | 6.1.11.00 | No-Break (UPS) | Power | kVA | 40 | 400 | 2000 | 0
631 | 6.1.11.01 | Battery String (emergency back up) | Number | pcs | 1 | 1 | 1 | 0
632 | 6.1.11.02 | Static Switch => emergency net | Number | pcs | 1 | 1 | 1 | 0
633 | 6.1.11.03 | Battery 12V | Number | pcs | 1 | 1 | 1 | 0
634 | 6.1.11.05 | Evacuation system - Battery set (public address) | Number | pcs | 1 | 1 | 1 | 0
635 | 6.1.11.10 | Fuel Emergency Generator | Power | kVA | 18 | 180 | 900 | 0
636 | 6.1.11.11 | Dynamic UPS | Power | kVA | 50 | 500 | 2500 | 0
637 | 6.1.11.15 | Fuel Tank (Underground)(Emergency) | Content | L | 500 | 5000 | 25000 | 0
638 | 6.1.11.16 | Fuel Tank (Overground)(Emergency) | Content | L | 500 | 5000 | 25000 | 0
639 | 6.1.11.17 | Transfer Pump Fuel (Emergency) | Diameter | mm | 82 | 820 | 4100 | 0
640 | 6.1.21.00 | Earthing Pin | Number | pcs | 1 | 1 | 1 | 0
641 | 6.1.21.01 | Earthing point | Number | pcs | 1 | 1 | 1 | 0
642 | 6.1.21.02 | Earthing mat | Number | pcs | 1 | 1 | 1 | 0
643 | 6.1.21.10 | Earthing Switch | Number | pcs | 1 | 1 | 1 | 0
644 | 6.1.41.00 | High Voltage Transformator | Power | kVA | 100 | 1000 | 5000 | 0
645 | 6.1.41.01 | High Voltage Switch Gear | Power | kVA | 100 | 1000 | 5000 | 0
646 | 6.1.41.10 | Capacitor Battery (Cos Phi) | Power | kVA | 40 | 400 | 2000 | 0
647 | 6.1.41.20 | Safety Utilities (Bench, Gloves, stick, ...) | Number | pcs | 1 | 1 | 1 | 0
648 | 6.1.41.21 | High voltage arrival tension cabinet | Number | pcs | 1 | 1 | 1 | 0
649 | 6.1.41.22 | High voltage departure tension cabinet | Number | pcs | 1 | 1 | 1 | 0
650 | 6.1.41.25 | High voltage counting cabinet | Number | pcs | 1 | 1 | 1 | 0
651 | 6.1.51.00 | Main Distribution Board | Amount | # of distributions | 2 | 20 | 100 | 0
652 | 6.1.51.10 | Distribution Board | Amount | # of distributions | 10 | 100 | 500 | 0
653 | 6.1.51.20 | Low voltage room | Amount | # of distributions | 1 | 10 | 50 | 0
654 | 6.1.61.00 | 24V - 48V Energy Station | Number | pcs | 1 | 1 | 1 | 0
655 | 6.1.61.01 | Battery String | Number | pcs | 1 | 1 | 1 | 0
656 | 6.1.61.10 | Charger and Battery for Electrical Appliances (cars) | Power | kW | 1 | 10 | 50 | 0
657 | 6.1.61.11 | Charging post (bicycles, cars) | Power | kW | 1 | 10 | 50 | 0
658 | 6.1.61.20 | Photovoltaic Cells | Power | W | 1 | 10 | 50 | 0
659 | 6.1.61.21 | Inverter - Photovoltaic Cells | Power | W | 1 | 10 | 50 | 0
660 | 6.1.61.31 | Inverter - wind turbine | Power | kW | 1000 | 10000 | 50000 | 0
661 | 6.1.71.00 | Lightning Protection | Number | pcs | 1 | 1 | 1 | 0
662 | 6.1.71.01 | Lightning Protection Earthing Network | Number | pcs | 1 | 1 | 1 | 0
663 | 6.1.71.02 | Lightning Protection Earthing Pin | Number | pcs | 1 | 1 | 1 | 0
664 | 6.1.71.03 | Lightning receiver | Number | pcs | 1 | 1 | 1 | 0
665 | 6.2.41.00 | Power Outlet | Amount | # of outlets | 1 | 10 | 50 | 0
666 | 6.2.41.01 | CEE Power Outlet | Amount | # of outlets | 1 | 10 | 50 | 0
667 | 6.2.41.10 | Schakelkast (Laagspanning) | Number | pcs | 1 | 1 | 1 | 0
668 | 6.3.24.00 | Decentralised Emergency Lighting | Number | pcs | 1 | 1 | 1 | 0
669 | 6.3.40.00 | Switch | Number | pcs | 1 | 1 | 1 | 0
670 | 6.3.40.20 | Movement Switch | Amount | # of switches | 1 | 10 | 50 | 0
671 | 6.3.40.21 | Presence Switch | Amount | # of switches | 1 | 10 | 50 | 0
672 | 6.3.40.22 | Twilight Switch | Amount | # of switches | 1 | 10 | 50 | 0
673 | 6.3.40.30 | Dimmer | Number | pcs | 1 | 1 | 1 | 0
674 | 6.3.41.00 | TL-TLD Appliance | Amount | # of devices | 1 | 10 | 50 | 0
675 | 6.3.41.01 | TL-TL5 Appliance | Amount | # of devices | 1 | 10 | 50 | 0
676 | 6.3.41.02 | TL-TL HF Appliance | Amount | # of devices | 1 | 10 | 50 | 0
677 | 6.3.41.03 | TL-Circular TL | Amount | # of devices | 1 | 10 | 50 | 0
678 | 6.3.41.10 | CTL Appliance (E14-E27) | Amount | # of devices | 8 | 80 | 400 | 0
679 | 6.3.41.11 | CTL Appliance (2-pins) | Amount | # of devices | 1 | 10 | 50 | 0
680 | 6.3.41.12 | CTL Appliance (4-pins) | Amount | # of devices | 1 | 10 | 50 | 0
681 | 6.3.41.20 | Discharge Appliance-SON | Number | pcs | 1 | 1 | 1 | 0
682 | 6.3.41.21 | Discharge Appliance-HPL | Number | pcs | 1 | 1 | 1 | 0
683 | 6.3.41.22 | Discharge Appliance-HPI | Number | pcs | 1 | 1 | 1 | 0
684 | 6.3.41.23 | Discharge Appliance-SOX | Number | pcs | 1 | 1 | 1 | 0
685 | 6.3.41.24 | Discharge Appliance-CDM | Number | pcs | 1 | 1 | 1 | 0
686 | 6.3.41.25 | Discharge Appliance-MHN | Number | pcs | 1 | 1 | 1 | 0
687 | 6.3.41.30 | Halogen Appliance (230V) | Amount | # of devices | 1 | 10 | 50 | 0
688 | 6.3.41.40 | LED-Tube Lamp (T5 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
689 | 6.3.41.41 | LED-Tube Lamp (T8 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
690 | 6.3.41.42 | LED-Lamp-spot (E14-E27 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
691 | 6.3.41.43 | LED-Spot (G9 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
692 | 6.3.41.44 | LED-Spot (GU10 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
693 | 6.3.41.45 | LED-Spot (AR111 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
694 | 6.3.41.46 | LED-Spot (GX53 - 230V) | Amount | # of devices | 1 | 10 | 50 | 0
695 | 6.3.44.00 | Halogen Appliance (24V) | Amount | # of devices | 1 | 10 | 50 | 0
696 | 6.3.44.10 | LED-Spot (MR11-MR16 - 12V) | Amount | # of devices | 1 | 10 | 50 | 0
697 | 6.3.44.11 | LED-Spot (AR111 - 12V) | Amount | # of devices | 1 | 10 | 50 | 0
698 | 6.3.54.00 | Central Emergency Lighting (24V) | Number | pcs | 1 | 1 | 1 | 0
699 | 6.3.75.00 | Neon Lighting | Number | pcs | 1 | 1 | 1 | 0
700 | 6.3.75.01 | Transformer for Neon Lighting | Number | pcs | 1 | 1 | 1 | 0
701 | 6.4.11.00 | Stop Light (Red) | Number | pcs | 1 | 1 | 1 | 0
702 | 6.4.11.01 | Stop Light (Red, Green) | Number | pcs | 1 | 1 | 1 | 0
703 | 6.4.11.02 | Stop Light (Red, Orange, Green) | Number | pcs | 1 | 1 | 1 | 0
704 | 6.4.11.10 | Parking Management System - Central | Number | pcs | 1 | 1 | 1 | 0
705 | 6.4.11.11 | Parking Management System - Monitor | Number | pcs | 1 | 1 | 1 | 0
706 | 6.4.11.12 | Parking Management System - Availability Signalisation | Number | pcs | 1 | 1 | 1 | 0
707 | 6.4.11.13 | Parking Management System - Presence sensor | Number | pcs | 1 | 1 | 1 | 0
708 | 6.4.11.14 | Parking Management System - Quantity Information Display | Number | pcs | 1 | 1 | 1 | 0
709 | 6.4.11.15 | Parking Management System - Totem (Count Registration) | Number | pcs | 1 | 1 | 1 | 0
710 | 6.4.12.00 | Persons Call System | Number | pcs | 1 | 1 | 1 | 0
711 | 6.4.12.10 | Intervention Call: Alarm light (flash light) | Number | pcs | 1 | 1 | 1 | 0
712 | 6.4.12.11 | Intervention Call: Acoustic Alarm | Number | pcs | 1 | 1 | 1 | 0
713 | 6.4.12.12 | Intervention Call: Speaker | Number | pcs | 1 | 1 | 1 | 0
714 | 6.4.13.00 | Work Time Registration | Number | pcs | 1 | 1 | 1 | 0
715 | 6.4.13.10 | Mother Clock | Number | pcs | 1 | 1 | 1 | 0
716 | 6.4.13.11 | Clock | Number | pcs | 1 | 1 | 1 | 0
717 | 6.4.14.00 | Presence and Occupied Signalisation | Number | pcs | 1 | 1 | 1 | 0
718 | 6.4.21.00 | Telephone | Number | pcs | 1 | 1 | 1 | 0
719 | 6.4.21.01 | Telephone connection | Length | m1 | 10 | 100 | 500 | 0
720 | 6.4.22.00 | Intercom | Number | pcs | 1 | 1 | 1 | 0
721 | 6.4.24.00 | Amplifier | Number | pcs | 1 | 1 | 1 | 0
722 | 6.4.24.01 | Tuner | Number | pcs | 1 | 1 | 1 | 0
723 | 6.4.24.02 | CD-Player | Number | pcs | 1 | 1 | 1 | 0
724 | 6.4.24.03 | Microphone | Number | pcs | 1 | 1 | 1 | 0
725 | 6.4.24.04 | Speaker | Number | pcs | 1 | 1 | 1 | 0
726 | 6.4.24.05 | Control panel (micro, music, ...) | Number | pcs | 1 | 1 | 1 | 0
727 | 6.4.24.06 | Connection point Microphone | Number | pcs | 1 | 1 | 1 | 0
728 | 6.4.31.00 | Television | Number | pcs | 1 | 1 | 1 | 0
729 | 6.4.31.01 | Televisie-aansluiting (Coax, ...) | Length | m1 | 10 | 100 | 500 | 0
730 | 6.4.33.00 | Beamer | Number | pcs | 1 | 1 | 1 | 0
731 | 6.4.33.01 | Automatic Projection Screen | Number | pcs | 1 | 1 | 1 | 0
732 | 6.4.33.10 | Information Screen | Number | pcs | 1 | 1 | 1 | 0
733 | 6.4.42.00 | Data Connection (UTP, ...) | Number | pcs | 10 | 20 | 20 | 0
734 | 6.4.52.01 | Wifi Installation - Amplifier | Number | pcs | 1 | 1 | 1 | 0
735 | 6.4.52.10 | ASTRID Network - Beacon (Central) | Number | pcs | 1 | 1 | 1 | 0
736 | 6.4.52.11 | ASTRID Network - Amplifier | Number | pcs | 1 | 1 | 1 | 0
737 | 6.4.52.12 | ASTRID Network - External antenna | Number | pcs | 1 | 1 | 1 | 0
738 | 6.4.52.13 | ASTRID Network - Internal antenna | Number | pcs | 1 | 1 | 1 | 0
739 | 6.4.60.10 | Satellite TV - Satellite dish | Number | pcs | 1 | 1 | 1 | 0
740 | 6.4.60.11 | Satellite TV - Multiswitch | Number | pcs | 1 | 1 | 1 | 0
741 | 6.5.10.01 | Evacuation System | Number | pcs | 1 | 1 | 1 | 0
742 | 6.5.10.02 | Evacuation Panel | Amount | # of Circuits | 20 | 200 | 1000 | 0
743 | 6.5.10.03 | Disabled call module | Amount | # of devices | 1 | 10 | 50 | 0
744 | 6.5.11.00 | Fire Detection Central | Amount | # of Zones | 8 | 80 | 400 | 0
745 | 6.5.11.01 | Fire Alarm Central | Amount | # of Zones | 8 | 80 | 400 | 0
746 | 6.5.11.02 | Repetition Board | Amount | # of repetitions | 1 | 10 | 50 | 0
747 | 6.5.11.03 | Synoptic fire alarm panel | Amount | # of devices | 1 | 10 | 50 | 0
748 | 6.5.11.05 | Fire Detector | Amount | # of devices | 1 | 10 | 50 | 0
749 | 6.5.11.06 | Siren - Flash | Amount | # of devices | 1 | 10 | 50 | 0
750 | 6.5.11.07 | Fire Notifier | Amount | # of devices | 1 | 10 | 50 | 0
751 | 6.5.11.09 | Aspiration detector | Amount | # of devices | 1 | 10 | 50 | 0
752 | 6.5.11.10 | Smoke Detection | Amount | # of devices | 1 | 10 | 50 | 0
753 | 6.5.11.20 | I-O module Fire Detection system | Number | pcs | 1 | 1 | 1 | 0
754 | 6.5.12.00 | Fire door | Area | m2 | 2 | 20 | 100 | 0
755 | 6.5.12.01 | Magnetic Contact | Amount | # of devices | 1 | 10 | 50 | 0
756 | 6.5.12.05 | Fire Window | Area | m2 | 2 | 20 | 100 | 0
757 | 6.5.12.10 | Smoke Curtain | Area | m2 | 2 | 20 | 100 | 0
758 | 6.5.12.20 | Fire-resistant Passages | Number | pcs | 1 | 1 | 1 | 0
759 | 6.5.12.40 | Push button door locking device (wired) | Amount | # of devices | 1 | 10 | 50 | 0
760 | 6.5.13.00 | Foam Extinguisher | Content | L | 2 | 20 | 100 | 0
761 | 6.5.13.01 | Powder Extinguisher | Content | L | 5 | 50 | 250 | 0
762 | 6.5.13.02 | CO2 Extinguisher | Content | L | 5 | 50 | 250 | 0
763 | 6.5.13.10 | Gas Extinction Installation | Number | pcs | 1 | 1 | 1 | 0
764 | 6.5.13.20 | Sprinkler: Alarm Valve | Number | pcs | 1 | 1 | 1 | 0
765 | 6.5.13.21 | Sprinkler: Sprinkler Head | Amount | # of Sprinkler heads | 4 | 40 | 200 | 0
766 | 6.5.13.22 | Sprinkler: Engine Pump | Diameter | mm | 82 | 820 | 4100 | 0
767 | 6.5.13.23 | Sprinkler: Electro Pump | Diameter | mm | 100 | 1000 | 5000 | 0
768 | 6.5.13.24 | Sprinkler: Jockey Pump | Diameter | mm | 100 | 1000 | 5000 | 0
769 | 6.5.13.25 | Dry Rising Pipes | Length | m1 | 1 | 10 | 50 | 0
770 | 6.5.13.26 | Wet Rising Pipes | Length | m1 | 1 | 10 | 50 | 0
771 | 6.5.13.27 | Water Reservoir | Content | L | 100 | 1000 | 5000 | 0
772 | 6.5.13.28 | Sprinkler system (wet | Flow rate | m3/h | 1000 | 5000 | 25000
773 | 6.5.13.29 | Sprinkler system (dry | Flow rate | m3/h | 1000 | 5000 | 25000
774 | 6.5.13.30 | Fire Hose Reel | Number | pcs | 1 | 1 | 1 | 0
775 | 6.5.13.31 | Indoor hydrant | Amount | # of Hydrants | 1 | 10 | 50 | 0
776 | 6.5.13.32 | Outdoor hydrant | Amount | # of Hydrants | 1 | 10 | 50 | 0
777 | 6.5.13.33 | Sprinkler: Alarm Bell | Amount | # of bells | 1 | 10 | 50 | 0
778 | 6.5.13.34 | Sprinkler: Testing Device | Amount | # of bells | 1 | 10 | 50 | 0
779 | 6.5.13.90 | Air ducts fire ventilation facility | Length | m1 | 1 | 10 | 50 | 0
780 | 6.5.21.00 | Burglar Detection - Central | Number | pcs | 1 | 1 | 1 | 0
781 | 6.5.21.01 | Burglar Detection - Detector | Amount | # of detectors | 1 | 10 | 50 | 0
782 | 6.5.21.02 | Burglar Detection - Door-Window Contact | Amount | # of contacts | 1 | 10 | 50 | 0
783 | 6.5.21.03 | Burglar Detection - Hold up button - Panic button | Number | pcs | 1 | 1 | 1 | 0
784 | 6.5.21.10 | Burglar Detection - Siren - Flash | Amount | # of devices | 1 | 10 | 50 | 0
785 | 6.5.21.20 | CCTV-Camera`s | Number | pcs | 1 | 2 | 4 | 0
786 | 6.5.21.21 | CCTV-Monitor | Number | pcs | 1 | 1 | 1 | 0
787 | 6.5.21.22 | CCTV-Multiplexer | Number | pcs | 1 | 1 | 1 | 0
788 | 6.5.21.23 | CCTV-Registration Device | Number | pcs | 1 | 1 | 1 | 0
789 | 6.5.22.00 | Acces Control - Central Command Unit | Number | pcs | 1 | 1 | 1 | 0
790 | 6.5.22.01 | Acces Control - Badge Reader | Number | pcs | 1 | 1 | 1 | 0
791 | 6.5.22.02 | Acces Control - Lock | Number | pcs | 1 | 1 | 1 | 0
792 | 6.5.22.03 | Acces Control - Push button (exit) | Number | pcs | 1 | 1 | 1 | 0
793 | 6.5.22.04 | Acces Control - Code Keypad | Number | pcs | 1 | 1 | 1 | 0
794 | 6.5.22.10 | Parlofony | Number | pcs | 1 | 1 | 1 | 0
795 | 6.5.22.20 | Videofony | Number | pcs | 1 | 1 | 1 | 0
796 | 6.5.31.00 | Motorised Sun Screen | Area | m2 | 2 | 20 | 100 | 0
797 | 6.5.31.01 | Manual Sun Screen | Area | m2 | 2 | 20 | 100 | 0
798 | 6.5.32.00 | Metal Detection | Number | pcs | 1 | 1 | 1 | 0
799 | 6.5.35.00 | Gas Detection (CH4) | Amount | # of detectors | 2 | 20 | 100 | 0
800 | 6.5.35.01 | Gas Detection (CO) | Amount | # of detectors | 1 | 10 | 50 | 0
801 | 6.5.35.02 | Gas Detection (CO2) | Amount | # of detectors | 1 | 10 | 50 | 0
802 | 6.5.36.00 | Water Leak Detection | Amount | # of detectors | 1 | 10 | 50 | 0
803 | 6.5.39.00 | Perimeter Security | Number | pcs | 1 | 1 | 1 | 0
804 | 6.5.80.00 | Emergency Shower | Number | pcs | 1 | 1 | 1 | 0
805 | 6.5.80.01 | Eye Shower | Number | pcs | 1 | 1 | 1 | 0
806 | 6.6.11.00 | Electrical Persons Elevator | Amount | # of stops | 2 | 20 | 100 | 0
807 | 6.6.12.00 | Hydraulic Persons Elevator | Amount | # of stops | 3.2 | 32 | 160 | 0
808 | 6.6.13.00 | Stairlift | Weight | Allowed mass (kg) | 150 | 1500 | 7500 | 0
809 | 6.6.14.00 | Platform Lift- Lifting Platform | Weight | Allowed mass (kg) | 150 | 1500 | 7500 | 0
810 | 6.6.21.00 | Escalator | Length | m1 | 5 | 50 | 250 | 0
811 | 6.6.22.00 | Travellator | Length | m1 | 5 | 50 | 250 | 0
812 | 6.6.31.01 | Electrical Goods Elevator | Amount | # of stops | 2 | 20 | 100 | 0
813 | 6.6.31.02 | Hydraulic Goods Elevator | Amount | # of stops | 2 | 20 | 100 | 0
814 | 6.6.32.00 | Lifting bridge (scissors or poles) | Weight | Allowed mass (kg) | 360 | 3600 | 18000 | 0
815 | 6.6.32.10 | Dock leveller | Weight | Allowed mass (kg) | 20000 | 200000 | 1000000 | 0
816 | 6.6.34.00 | Conveyor Belt | Length | m1 | 5 | 50 | 250 | 0
817 | 6.6.36.00 | Overhead Crane | Weight | Allowed mass (kg) | 500 | 5000 | 25000 | 0
818 | 6.6.36.10 | Swivel Arm Cranes | Weight | Allowed mass (kg) | 500 | 5000 | 25000 | 0
819 | 6.6.36.20 | Hoists | Weight | Allowed mass (kg) | 500 | 5000 | 25000 | 0
820 | 6.6.41.00 | Pipe-mail installation | Number | pcs | 1 | 1 | 1 | 0
821 | 6.6.42.00 | Rail Container - Rails | Length | m1 | 5 | 50 | 250 | 0
822 | 6.6.42.01 | Rail Container - Container | Number | pcs | 1 | 1 | 1 | 0
823 | 6.7.14.00 | PC | Number | pcs | 1 | 1 | 1 | 0
824 | 6.7.14.01 | Screen | Number | pcs | 1 | 1 | 1 | 0
825 | 6.7.14.02 | Keyboard | Number | pcs | 1 | 1 | 1 | 0
826 | 6.7.14.03 | Mouse | Number | pcs | 1 | 1 | 1 | 0
827 | 6.7.14.10 | Sonde | Number | pcs | 1 | 1 | 1 | 0
828 | 6.7.14.11 | Control Device | Number | pcs | 1 | 1 | 1 | 0
829 | 6.7.24.00 | Automatic Control (DDC) Primary | Number | pcs | 1 | 1 | 1 | 0
830 | 6.7.24.01 | Automatic Control (DDC) Secondary | Number | pcs | 1 | 1 | 1 | 0
831 | 6.7.24.10 | Building Management System | Number | pcs | 1 | 1 | 1 | 0
832 | 6.7.24.11 | Network Engines (NAE-NCE) | Number | pcs | 1 | 1 | 1 | 0
833 | 6.7.24.12 | Field Equipment controllers | Number | pcs | 1 | 1 | 1 | 0
834 | 6.7.24.13 | Input-output modules | Number | pcs | 1 | 1 | 1 | 0
835 | 6.7.31.00 | Alarm Transmitter | Number | pcs | 1 | 1 | 1 | 0
836 | 6.7.31.10 | Modem | Number | pcs | 1 | 1 | 1 | 0
837 | 7.2.11.00 | Locker | Number | pcs | 1 | 1 | 1 | 0
838 | 7.2.12.00 | Motorised Sun Screen (indoors) | Area | m2 | 2 | 20 | 100 | 0
839 | 7.2.12.01 | Manual Sun Screen (indoors) - Screen | Area | m2 | 2 | 20 | 100 | 0
840 | 7.2.12.10 | Manual Sun Screen (indoors) - Blinds | Area | m2 | 2 | 20 | 100 | 0
841 | 7.2.21.00 | Grinding poles (fire brigade) | Number | pcs | 1 | 1 | 1 | 0
842 | 7.2.22.00 | Car wash Facilities | Number | pcs | 1 | 1 | 1 | 0
843 | 7.2.22.10 | Laundry, Dry-cleaning, Ironing Facilities | Number | pcs | 1 | 1 | 1 | 0
844 | 7.2.22.11 | Wash Machines | Number | pcs | 1 | 1 | 1 | 0
845 | 7.2.22.12 | Clothes Dryer | Number | pcs | 1 | 1 | 1 | 0
846 | 7.2.22.15 | Hose Washer Installation | Number | pcs | 1 | 1 | 1 | 0
847 | 7.3.11.00 | Kitchen Counter (Domestic) | Number | pcs | 1 | 1 | 1 | 0
848 | 7.3.11.01 | Kitchen Cupboard (Domestic) | Number | pcs | 1 | 1 | 1 | 0
849 | 7.3.12.00 | Domestic Fume Hood | Number | pcs | 1 | 1 | 1 | 0
850 | 7.3.12.10 | Domestic Dish Washer | Number | pcs | 1 | 1 | 1 | 0
851 | 7.3.12.20 | Heating: Electrical Stove (domestic) | Number | pcs | 1 | 1 | 1 | 0
852 | 7.3.12.21 | Heating: Gas Stove (domestic) | Number | pcs | 1 | 1 | 1 | 0
853 | 7.3.12.22 | Heating: Oven (domestic) | Number | pcs | 1 | 1 | 1 | 0
854 | 7.3.12.23 | Heating: Microwave Oven | Number | pcs | 1 | 1 | 1 | 0
855 | 7.3.12.24 | Heating: Coffee Machine | Number | pcs | 1 | 1 | 1 | 0
856 | 7.3.12.25 | Heating: Fryer | Number | pcs | 1 | 1 | 1 | 0
857 | 7.3.12.27 | Heating: Combisteamer (domestic) | Number | pcs | 1 | 1 | 1 | 0
858 | 7.3.12.28 | Heating: Combisteamer (professional) | Number | pcs | 1 | 1 | 1 | 0
859 | 7.3.12.29 | Kitchen equipment Cooking unit | Number | pcs | 1 | 1 | 1 | 0
860 | 7.3.12.30 | Cooling: Freezer | Number | pcs | 1 | 1 | 1 | 0
861 | 7.3.12.31 | Cooling: Refrigerator | Number | pcs | 1 | 1 | 1 | 0
862 | 7.3.22.00 | Industrial Fume Hood | Number | pcs | 1 | 1 | 1 | 0
863 | 7.3.22.10 | Dishes: Dish Washing Machine (Industrial Kitchen) | Number | pcs | 1 | 1 | 1 | 0
864 | 7.3.22.11 | Dishes: Basket Dish Washing Machine | Number | pcs | 1 | 1 | 1 | 0
865 | 7.3.22.12 | Dishes: Conveyor Belt | Number | pcs | 1 | 1 | 1 | 0
866 | 7.3.22.13 | Dishes: Serving tray machine | Number | pcs | 1 | 1 | 1 | 0
867 | 7.3.22.19 | Heating: Induction hob | Number | pcs | 1 | 1 | 1 | 0
868 | 7.3.22.20 | Heating: Electrical Stove | Number | pcs | 1 | 1 | 1 | 0
869 | 7.3.22.21 | Heating: Gas Stove | Number | pcs | 1 | 1 | 1 | 0
870 | 7.3.22.22 | Heating: Oven | Number | pcs | 1 | 1 | 1 | 0
871 | 7.3.22.23 | Heating: Bain-Marie | Number | pcs | 1 | 1 | 1 | 0
872 | 7.3.22.24 | Heating: Saucepan | Number | pcs | 1 | 1 | 1 | 0
873 | 7.3.22.25 | Heating: Grill | Number | pcs | 1 | 1 | 1 | 0
874 | 7.3.22.26 | Heating: Roasting Pan | Number | pcs | 1 | 1 | 1 | 0
875 | 7.3.22.27 | Heating: Combisteamer | Number | pcs | 1 | 1 | 1 | 0
876 | 7.3.22.28 | Heating: Plate Warmer | Number | pcs | 1 | 1 | 1 | 0
877 | 7.3.22.29 | Heating: Warming Table | Number | pcs | 1 | 1 | 1 | 0
878 | 7.3.22.30 | Cooling: Cold Store incl. compressor | Number | pcs | 1 | 1 | 1 | 0
879 | 7.3.22.31 | Cooling: Freeze Store incl. compressor | Number | pcs | 1 | 1 | 1 | 0
880 | 7.3.22.32 | Cooling: Refrigerated counter | Number | pcs | 1 | 1 | 1 | 0
881 | 7.3.22.33 | Cooling: Ice Cubes Machine | Number | pcs | 1 | 1 | 1 | 0
882 | 7.3.22.34 | Cooling: External chiller for Cold store | Number | pcs | 1 | 1 | 1 | 0
883 | 7.3.22.35 | Cooling: External chiller for Freezer store | Number | pcs | 1 | 1 | 1 | 0
884 | 7.3.22.36 | Cooling: Evaporator cooling-freezing cell | Number | pcs | 1 | 1 | 1 | 0
885 | 7.3.22.37 | Cooling: Central chilled Green combination | Number | pcs | 1 | 1 | 1 | 0
886 | 7.3.22.40 | Preparation: Mixer | Number | pcs | 1 | 1 | 1 | 0
887 | 7.3.22.41 | Preparation: Whipper | Number | pcs | 1 | 1 | 1 | 0
888 | 7.3.22.42 | Preparation: Salad Swayer | Number | pcs | 1 | 1 | 1 | 0
889 | 7.3.22.43 | Preparation: Peeler | Number | pcs | 1 | 1 | 1 | 0
890 | 7.3.22.44 | Preparation: Cutting Machine | Number | pcs | 1 | 1 | 1 | 0
891 | 7.3.22.45 | Preparation: Scale | Number | pcs | 1 | 1 | 1 | 0
892 | 7.3.22.50 | Dishers: Kitchen Sorting unit | Number | pcs | 1 | 1 | 1 | 0
893 | 7.3.22.51 | Dishers: Kitchen turning bend unit | Number | pcs | 1 | 1 | 1 | 0
894 | 7.3.22.52 | Dishers: Kitchen Boiling kettle | Number | pcs | 1 | 1 | 1 | 0
895 | 7.3.22.53 | Dishers: Kitchen Drying tunnel | Number | pcs | 1 | 1 | 1 | 0
896 | 7.3.22.54 | Dishers: Kitchen Basket stacker | Number | pcs | 1 | 1 | 1 | 0
897 | 7.3.22.55 | Dishers: Kitchen Dish stacker | Number | pcs | 1 | 1 | 1 | 0
898 | 7.3.22.56 | Dishers: Kitchen Pan washer | Number | pcs | 1 | 1 | 1 | 0
899 | 7.3.22.57 | Dishers: Kitchen Cup warmer | Number | pcs | 1 | 1 | 1 | 0
900 | 7.3.22.58 | Dishers: Kitchen Hot display | Number | pcs | 1 | 1 | 1 | 0
901 | 7.3.22.59 | Dishers: Kitchen Refrigerated workbench | Number | pcs | 1 | 1 | 1 | 0
902 | 7.3.32.01 | Dishes: Trays dishwasher | Number | pcs | 1 | 1 | 1 | 0
903 | 7.4.11.00 | Urinal Flush Valve | Number | pcs | 1 | 1 | 1 | 0
904 | 7.4.11.01 | Urinal Automatic Flush | Number | pcs | 1 | 1 | 1 | 0
905 | 7.4.11.05 | Toilet | Number | pcs | 1 | 2 | 10 | 0
906 | 7.4.11.10 | Wash Basin, manual taps | Number | pcs | 1 | 1 | 1 | 0
907 | 7.4.11.11 | Wash Basin, automatic taps | Number | pcs | 1 | 1 | 1 | 0
908 | 7.4.11.12 | Discharge Basin | Number | pcs | 1 | 1 | 1 | 0
909 | 7.4.11.13 | Kitchenette | Number | pcs | 1 | 1 | 1 | 0
910 | 7.4.11.14 | Washing basin | Number | pcs | 1 | 1 | 1 | 0
911 | 7.4.11.15 | Washing table (kitchen) | Number | pcs | 1 | 1 | 1 | 0
912 | 7.4.11.16 | Water Tap | Number | pcs | 1 | 1 | 1 | 0
913 | 7.4.11.20 | Shower | Number | pcs | 1 | 1 | 1 | 0
914 | 7.4.11.21 | Bath | Number | pcs | 1 | 1 | 1 | 0
915 | 7.4.11.25 | Collective Shower | Number | pcs | 1 | 1 | 1 | 0
916 | 7.4.11.26 | Mixing Tap | Number | pcs | 1 | 1 | 1 | 0
917 | 7.4.11.30 | Hair Dryer | Number | pcs | 1 | 1 | 1 | 0
918 | 7.4.11.31 | Hand Dryer | Number | pcs | 1 | 1 | 1 | 0
919 | 7.4.12.00 | Disabled Toilet | Number | pcs | 1 | 1 | 1 | 0
920 | 7.4.12.05 | Toilet with faecal destroyer | Number | pcs | 1 | 1 | 1 | 0
921 | 7.4.12.21 | High - Low Bath | Number | pcs | 1 | 1 | 1 | 0
922 | 7.4.13.00 | Bathroom furniture (Domestic) | Number | pcs | 1 | 1 | 1 | 0
923 | 7.5.13.10 | Lifeline | Length | m1 | 10 | 100 | 500 | 0
924 | 7.5.13.11 | Set of Lifeline Anchor Points | Amount | # of Anchor points | 1 | 10 | 50 | 0
925 | 7.5.13.15 | Anchor Point | Number | pcs | 1 | 1 | 1 | 0
926 | 7.5.23.00 | Cleaning Cradle | Weight | kg | 800 | 8000 | 40000 | 0
927 | 7.5.23.01 | Roof Rails | Length | m1 | 5 | 50 | 250 | 0
928 | 7.5.23.02 | Roof Wagon | Number | pcs | 1 | 1 | 1 | 0
929 | 7.5.23.05 | Facade maintenance facilities | Number | pcs | 1 | 1 | 1 | 0
930 | 7.6.21.01 | Gas Station | Number | pcs | 1 | 1 | 1 | 0
931 | 7.6.21.02 | Fuel Tank (Underground)(vehicle) | Content | L | 250 | 2500 | 12500 | 0
932 | 7.6.21.03 | Fuel Tank (Overground)(vehicle) | Content | L | 250 | 2500 | 12500 | 0
933 | 7.6.21.04 | Transfer Pump Fuel (Emergency)(vehicle) | Diameter | mm | 82 | 820 | 4100 | 0
934 | 7.6.21.05 | Tank | Content | L | 250 | 2500 | 12500 | 0
935 | 8.4.00.00 | AED | Number | pcs | 1 | 1 | 1 | 0
936 | 8.5.22.00 | Waste Press | Number | pcs | 1 | 1 | 1 | 0
937 | 9.0.21.00 | Bicycle Shelter | Number | pcs | 1 | 1 | 1 | 0
938 | 9.0.21.10 | Mast (pyramid) | Height | m1 | 5 | 50 | 250 | 0
939 | 9.0.21.11 | Mast (rigged) | Height | m1 | 5 | 50 | 250 | 0
940 | 9.0.32.00 | Fencing | Area | m2 | 20 | 200 | 1000 | 0
941 | 9.0.34.10 | Manual Roller Gate | Area | m2 | 5 | 50 | 250 | 0
942 | 9.0.34.11 | Automatic Roller Gate | Area | m2 | 5 | 50 | 250 | 0
943 | 9.0.34.20 | Manual rotary drum | Number | pcs | 1 | 1 | 1 | 0
944 | 9.0.34.21 | Automatic rotary drum | Number | pcs | 1 | 1 | 1 | 0
945 | 9.0.34.30 | Manual Revolving Gate | Number | pcs | 1 | 1 | 1 | 0
946 | 9.0.34.31 | Automatic Revolving Gate | Number | pcs | 1 | 1 | 1 | 0
947 | 9.0.41.00 | Roads | Length | m1 | 10 | 100 | 500 | 0
948 | 9.0.41.01 | Bicycle Roads | Length | m1 | 10 | 100 | 500 | 0
949 | 9.0.41.02 | Pavements | Area | m2 | 20 | 200 | 1000 | 0
950 | 9.0.41.15 | Parking Spaces - External | Area | m2 | 500 | 5000 | 25000 | 0
951 | 9.0.41.20 | Outdoors | Area | m2 | 100 | 1000 | 5000 | 0
952 | 9.0.42.00 | Lawn | Area | m2 | 100 | 1000 | 5000 | 0
953 | 9.0.42.01 | Flower Bed | Area | m2 | 50 | 500 | 2500 | 0
954 | 9.0.42.02 | Shrubs | Area | m2 | 1 | 10 | 50 | 0
955 | 9.0.42.03 | Trees | Number | pcs | 1 | 1 | 1 | 0
956 | 9.0.52.00 | Sewer Pipe | Number | pcs | 1 | 1 | 1 | 0
957 | 9.0.52.01 | Sewerage Pit | Number | pcs | 1 | 1 | 1 | 0
958 | 9.0.52.02 | Gutter | Length | m1 | 1 | 10 | 50 | 0
959 | 9.0.53.00 | Pond | Area | m2 | 100 | 1000 | 5000 | 0
960 | 9.0.53.01 | Storm Basin | Number | pcs | 1 | 1 | 1 | 0
961 | 9.0.53.05 | Water Lot | Number | pcs | 1 | 1 | 1 | 0
962 | 9.0.65.00 | External Hydrant (site) | Amount | # of Hydrants | 1 | 10 | 50 | 0
963 | 9.0.65.10 | Manual Barrier | Number | pcs | 1 | 1 | 1 | 0
964 | 9.0.65.11 | Automatic Barrier | Number | pcs | 1 | 1 | 1 | 0
965 | 9.0.65.12 | Road Blocker | Number | pcs | 1 | 1 | 1 | 0
966 | 9.0.65.13 | Retractable Bollard | Number | pcs | 1 | 1 | 1 | 0
967 | 9.0.71.00 | Outdoor bench | Number | pcs | 1 | 1 | 1 | 0
968 | 9.0.71.01 | Letter box | Number | pcs | 1 | 1 | 1 | 0
969 | 9.0.71.02 | Key safe | Number | pcs | 1 | 1 | 1 | 0
970 | 9.0.74.00 | Flag Pole | Height | m1 | 2 | 20 | 100 | 0
971 | 9.0.82.00 | Football Field | Area | m2 | 7500 | 75000 | 375000 | 0
972 | 9.0.82.01 | Tennis Court | Area | m2 | 600 | 6000 | 30000 | 0
973 | 9.0.82.02 | Athletics Path | Length | m1 | 400 | 4000 | 20000 | 0
974 | 9.0.82.03 | Basketball Court | Area | m2 | 650 | 6500 | 32500 | 0
975 | 9.0.82.04 | Sport Court | Area | m2 | 100 | 1000 | 5000 | 0
976 | 9.0.82.10 | Salt Silo | Volume | m3 | 5 | 50 | 250 | 0